## Summary
| 50G |  | 40G |  | 30G |  | 20G |  | 10G |  | PS OFF
| No Shield | w Shield | No Shield | w Shield | No Shield | w Shield | No Shield | w Shield | No Shield | w Shield | No Shield | w Shield | No Jacks
0 | 1.7 | 1.8 | 1.5 | 1.5 | 1.2 | 1.2 | 0.9 | 0.8 | 0.6 | 0.6 | 0.3 | 0.4 | 0.4
0.996 | 1.8 | 1.9 | 1.6 | 1.6 | 1.3 | 1.3 | 1 | 0.9 | 0.6 | 0.6 | 0.3 | 0.4 | 0.3
1.996 | 1.9 | 1.7 | 1.7 | 1.7 | 1.4 | 1.4 | 1.1 | 1 | 0.7 | 0.6 | 0.3 | 0.3 | 0.4
2.997 | 2 | 2.1 | 1.9 | 1.8 | 1.5 | 1.4 | 1.1 | 1.1 | 0.7 | 0.7 | 0.3 | 0.3 | 0.4
3.996 | 2.2 | 2.4 | 2 | 2 | 1.6 | 1.6 | 1.2 | 1.2 | 0.7 | 0.7 | 0.3 | 0.3 | 0.4
4.993 | 2.3 | 2.6 | 2.2 | 2.1 | 1.7 | 1.7 | 1.3 | 1.2 | 0.8 | 0.8 | 0.3 | 0.3 | 0.4
5.998 | 2.6 | 2.8 | 2.4 | 2.3 | 1.9 | 1.8 | 1.4 | 1.3 | 0.8 | 0.7 | 0.3 | 0.3 | 0.4
6.997 | 2.8 | 3.1 | 2.6 | 2.5 | 2 | 1.9 | 1.4 | 1.4 | 0.9 | 0.8 | 0.3 | 0.3 | 0.4
7.996 | 3.1 | 3.4 | 2.8 | 2.7 | 2.2 | 2.1 | 1.6 | 1.5 | 0.9 | 0.9 | 0.3 | 0.4 | 0.4
8.995 | 3.5 | 3.7 | 3.2 | 3 | 2.4 | 2.3 | 1.8 | 1.6 | 1 | 0.9 | 0.4 | 0.4 | 0.4
9.995 | 3.8 | 4.1 | 3.5 | 3.2 | 2.7 | 2.5 | 1.9 | 1.8 | 1.1 | 1 | 0.4 | 0.4 | 0.4
10.999 | 4.3 | 4.5 | 3.8 | 3.6 | 2.9 | 2.7 | 2 | 1.9 | 1.2 | 1.1 | 0.3 | 0.4 | 0.4
11.995 | 4.8 | 5 | 4.3 | 4 | 3.2 | 3 | 2.2 | 2.1 | 1.2 | 1.2 | 0.4 | 0.4 | 0.4
12.994 | 5.4 | 5.6 | 4.7 | 4.4 | 3.6 | 3.4 | 2.5 | 2.3 | 1.4 | 1.3 | 0.4 | 0.4 | 0.4
13.996 | 6.1 | 6.2 | 5.3 | 4.9 | 4.1 | 3.7 | 2.7 | 2.5 | 1.5 | 1.4 | 0.4 | 0.4 | 0.5
14.995 | 7 | 6.9 | 6 | 5.5 | 4.6 | 4.2 | 3.1 | 2.8 | 1.7 | 1.5 | 0.5 | 0.4 | 0.5
15.994 | 8 | 7.7 | 6.8 | 6.1 | 5.1 | 4.6 | 3.5 | 3.1 | 1.8 | 1.7 | 0.5 | 0.4 | 0.5
16.993 | 9.2 | 8.7 | 7.7 | 6.8 | 5.8 | 5.2 | 3.9 | 3.5 | 2.1 | 1.9 | 0.5 | 0.5 | 0.6
17.995 | 10.6 | 9.8 | 8.8 | 7.7 | 6.6 | 5.8 | 4.5 | 3.9 | 2.3 | 2 | 0.6 | 0.5 | 0.6
18.997 | 12.3 | 10.8 | 10.2 | 8.5 | 7.7 | 6.5 | 5.1 | 4.4 | 2.6 | 2.2 | 0.6 | 0.5 | 0.7
19.993 | 14.3 | 12 | 11.8 | 9.5 | 8.8 | 7.2 | 5.9 | 4.8 | 3.1 | 2.4 | 0.7 | 0.6 | 0.7
20.994 | 16.8 | 12.9 | 13.7 | 10.2 | 10.2 | 7.7 | 6.8 | 5.2 | 3.5 | 2.6 | 0.8 | 0.6 | 0.8
21.996 | 19.6 | 13.4 | 15.9 | 10.5 | 11.9 | 7.9 | 8 | 5.3 | 4.1 | 2.7 | 0.9 | 0.6 | 1
22.995 | 22.9 | 12.5 | 18.5 | 9.9 | 13.9 | 7.4 | 9.3 | 4.9 | 4.7 | 2.5 | 1.1 | 0.6 | 1.1
23.995 | 26.7 | 9.8 | 21.5 | 7.8 | 16.1 | 5.8 | 10.7 | 3.9 | 5.4 | 1.9 | 1.2 | 0.4 | 1.2
24.994 | 30.7 | 5.8 | 24.7 | 4.6 | 18.6 | 3.4 | 12.4 | 2.3 | 6.2 | 1.2 | 1.4 | 0.2 | 1.4
25.996 | 34.9 | 2.6 | 28.1 | 1.9 | 21.1 | 1.5 | 14 | 1 | 7.1 | 0.5 | 1.5 | 0.1 | 1.6
26.997 | 38.9 | 0.9 | 31.3 | 0.7 | 23.4 | 0.5 | 15.6 | 0.4 | 7.9 | 0.2 | 1.7 | 0 | 1.7
27.993 | 42.4 | 0.4 | 34 | 0.3 | 25.5 | 0.2 | 17 | 0.1 | 8.5 | 0.1 | 1.9 | 0 | 1.8
28.994 | 45.2 | 0.2 | 36.2 | 0.2 | 27.2 | 0.1 | 18 | 0.1 | 9.1 | 0.1 | 1.9 | 0 | 2
29.996 | 47.1 | 0.2 | 37.7 | 0.2 | 28.3 | 0.1 | 18.8 | 0.1 | 9.5 | 0.1 | 2 | 0 | 2
30.997 | 48.5 | 0.2 | 38.8 | 0.1 | 29.1 | 0.1 | 19.3 | 0.1 | 9.8 | 0.1 | 2.1 | 0 | 2.1
31.995 | 49.3 | 0.2 | 39.5 | 0.1 | 29.5 | 0.1 | 19.7 | 0.1 | 9.9 | 0.1 | 2.1 | 0 | 2.2
32.993 | 49.8 | 0.2 | 39.8 | 0.1 | 29.9 | 0.1 | 19.9 | 0.1 | 10 | 0.1 | 2.2 | 0 | 2.2
33.996 | 50 | 0.2 | 40.1 | 0.1 | 30 | 0.1 | 20 | 0.1 | 10 | 0.1 | 2.2 | 0 | 2.2
34.997 | 50.1 | 0.2 | 40.1 | 0.1 | 30.1 | 0.1 | 20 | 0.1 | 10.1 | 0.1 | 2.2 | 0 | 2.2
35.994 | 50.1 | 0.1 | 40.1 | 0.1 | 30.1 | 0.1 | 20 | 0.1 | 10.1 | 0.1 | 2.2 | 0 | 2.2
36.995 | 49.8 | 0.2 | 39.8 | 0.1 | 29.9 | 0.1 | 19.9 | 0.1 | 10 | 0.1 | 2.2 | 0 | 2.2
37.995 | 49.3 | 0.2 | 39.4 | 0.2 | 29.6 | 0.1 | 19.7 | 0.1 | 9.9 | 0.1 | 2.1 | 0 | 2.2
38.996 | 48.4 | 0.2 | 38.7 | 0.2 | 29.1 | 0.1 | 19.4 | 0.1 | 9.8 | 0.1 | 2.1 | 0 | 2.2
39.993 | 47.1 | 0.2 | 37.7 | 0.2 | 28.3 | 0.1 | 18.8 | 0.1 | 9.5 | 0.1 | 2.1 | 0 | 2.1
40.994 | 45.1 | 0.2 | 36.1 | 0.2 | 27.1 | 0.2 | 18 | 0.1 | 9.1 | 0.1 | 2 | 0 | 2
41.996 | 42.4 | 0.4 | 33.9 | 0.3 | 25.4 | 0.2 | 16.9 | 0.2 | 8.5 | 0.1 | 1.9 | 0 | 1.9
42.996 | 38.9 | 1 | 31.2 | 0.7 | 23.4 | 0.5 | 15.6 | 0.4 | 7.9 | 0.2 | 1.8 | 0 | 1.7
43.993 | 34.9 | 2.5 | 27.9 | 1.9 | 21.1 | 1.5 | 14 | 1 | 7.2 | 0.5 | 1.6 | 0.1 | 1.6
44.993 | 30.7 | 5.8 | 24.7 | 4.5 | 18.6 | 3.4 | 12.4 | 2.3 | 6.3 | 1.2 | 1.5 | 0.3 | 1.4
45.995 | 26.6 | 9.9 | 21.5 | 7.7 | 16.2 | 5.8 | 10.8 | 3.9 | 5.5 | 2 | 1.3 | 0.5 | 1.3
46.996 | 22.9 | 12.6 | 18.6 | 9.9 | 14 | 7.4 | 9.4 | 5 | 4.8 | 2.6 | 1.2 | 0.7 | 1.2
47.992 | 19.7 | 13.6 | 16.1 | 10.6 | 12.1 | 8 | 8.1 | 5.4 | 4.2 | 2.8 | 1.1 | 0.7 | 1
48.993 | 16.8 | 13.2 | 13.9 | 10.4 | 10.4 | 7.9 | 7.1 | 5.3 | 3.6 | 2.7 | 0.9 | 0.7 | 0.9
49.995 | 14.5 | 12.3 | 12 | 9.7 | 9.1 | 7.4 | 6.1 | 5 | 3.2 | 2.6 | 0.9 | 0.7 | 0.8
50.995 | 12.5 | 11.2 | 10.4 | 8.8 | 7.9 | 6.7 | 5.4 | 4.6 | 2.8 | 2.4 | 0.8 | 0.7 | 0.7
51.993 | 10.8 | 10.1 | 9.1 | 7.9 | 6.9 | 6.1 | 4.7 | 4.1 | 2.5 | 2.2 | 0.7 | 0.7 | 0.7
52.993 | 9.4 | 9 | 8 | 7.2 | 6.1 | 5.4 | 4.1 | 3.7 | 2.2 | 2 | 0.7 | 0.6 | 0.7
53.995 | 8.2 | 8 | 7.1 | 6.4 | 5.4 | 4.9 | 3.7 | 3.4 | 2 | 1.9 | 0.7 | 0.6 | 0.6
54.995 | 7.2 | 7.2 | 6.2 | 5.7 | 4.7 | 4.4 | 3.3 | 3 | 1.8 | 1.7 | 0.6 | 0.6 | 0.6
55.992 | 6.4 | 6.4 | 5.5 | 5.1 | 4.2 | 3.9 | 2.9 | 2.7 | 1.7 | 1.6 | 0.6 | 0.5 | 0.5
56.993 | 5.7 | 5.8 | 4.9 | 4.6 | 3.8 | 3.5 | 2.7 | 2.5 | 1.5 | 1.4 | 0.6 | 0.5 | 0.5
57.994 | 5.1 | 5.2 | 4.4 | 4.2 | 3.4 | 3.2 | 2.4 | 2.3 | 1.4 | 1.3 | 0.6 | 0.5 | 0.5
58.995 | 4.5 | 4.7 | 4 | 3.7 | 3.1 | 2.9 | 2.2 | 2.1 | 1.3 | 1.2 | 0.5 | 0.5 | 0.5
59.992 | 4.1 | 4.2 | 3.6 | 3.4 | 2.8 | 2.6 | 2 | 1.9 | 1.2 | 1.2 | 0.5 | 0.5 | 0.5
60.992 | 3.8 | 3.8 | 3.3 | 3.1 | 2.5 | 2.4 | 1.9 | 1.8 | 1.1 | 1.1 | 0.5 | 0.5 | 0.5
61.994 | 3.5 | 3.5 | 3 | 2.8 | 2.3 | 2.2 | 1.7 | 1.6 | 1.1 | 1.1 | 0.5 | 0.5 | 0.5
62.993 | 3.2 | 3.2 | 2.7 | 2.6 | 2.2 | 2.1 | 1.6 | 1.5 | 1 | 1 | 0.5 | 0.5 | 0.5
63.99 | 2.9 | 2.9 | 2.5 | 2.4 | 2 | 1.9 | 1.5 | 1.4 | 0.9 | 0.9 | 0.4 | 0.5 | 0.4
64.991 | 2.7 | 2.7 | 2.3 | 2.2 | 1.9 | 1.8 | 1.4 | 1.4 | 0.9 | 0.8 | 0.5 | 0.5 | 0.4
65.992 | 2.5 | 2.5 | 2.1 | 2.1 | 1.7 | 1.7 | 1.3 | 1.3 | 0.8 | 0.8 | 0.5 | 0.4 | 0.5
66.993 | 2.3 | 2.3 | 2 | 1.9 | 1.7 | 1.6 | 1.3 | 1.2 | 0.8 | 0.8 | 0.5 | 0.5 | 0.4
67.99 | 2.2 | 2.2 | 1.9 | 1.8 | 1.6 | 1.5 | 1.2 | 1.2 | 0.8 | 0.8 | 0.4 | 0.4 | 0.4
68.991 | 2 | 2 | 1.8 | 1.7 | 1.4 | 1.4 | 1.1 | 1.1 | 0.7 | 0.7 | 0.4 | 0.4 | 0.4
69.993 | 1.9 | 1.9 | 1.7 | 1.6 | 1.4 | 1.3 | 1.1 | 1.1 | 0.7 | 0.7 | 0.4 | 0.4 | 0.4

## 50G No Shield
! begin File Header
BD999050.stp | ! data file
2011-06-10 | ! date
11:26 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
71 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Center Gauss=50 Grid
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter
14.137 | 0 | 1.7 | 0.10311
14.137 | 0.996 | 1.8 | 0.10311
14.137 | 1.996 | 1.9 | 0.10311
14.137 | 2.997 | 2 | 0.10311
14.137 | 3.996 | 2.2 | 0.10311
14.137 | 4.993 | 2.3 | 0.10311
14.137 | 5.998 | 2.6 | 0.10312
14.137 | 6.997 | 2.8 | 0.10311
14.137 | 7.996 | 3.1 | 0.1031
14.137 | 8.995 | 3.5 | 0.10311
14.136 | 9.995 | 3.8 | 0.10311
14.136 | 10.999 | 4.3 | 0.10311
14.136 | 11.995 | 4.8 | 0.10311
14.136 | 12.994 | 5.4 | 0.1031
14.136 | 13.996 | 6.1 | 0.10311
14.136 | 14.995 | 7 | 0.10311
14.136 | 15.994 | 8 | 0.10311
14.137 | 16.993 | 9.2 | 0.10311
14.137 | 17.995 | 10.6 | 0.10311
14.137 | 18.997 | 12.3 | 0.10312
14.137 | 19.993 | 14.3 | 0.10312
14.137 | 20.994 | 16.8 | 0.10312
14.137 | 21.996 | 19.6 | 0.10312
14.137 | 22.995 | 22.9 | 0.10311
14.137 | 23.995 | 26.7 | 0.1031
14.137 | 24.994 | 30.7 | 0.10311
14.137 | 25.996 | 34.9 | 0.10311
14.137 | 26.997 | 38.9 | 0.10311
14.137 | 27.993 | 42.4 | 0.10311
14.137 | 28.994 | 45.2 | 0.10311
14.137 | 29.996 | 47.1 | 0.10311
14.137 | 30.997 | 48.5 | 0.10311
14.137 | 31.995 | 49.3 | 0.10311
14.137 | 32.993 | 49.8 | 0.1031
14.137 | 33.996 | 50 | 0.10311
14.137 | 34.997 | 50.1 | 0.10311
14.137 | 35.994 | 50.1 | 0.10311
14.137 | 36.995 | 49.8 | 0.10311
14.137 | 37.995 | 49.3 | 0.10312
14.137 | 38.996 | 48.4 | 0.10311
14.137 | 39.993 | 47.1 | 0.10311
14.137 | 40.994 | 45.1 | 0.10311
14.137 | 41.996 | 42.4 | 0.10311
14.137 | 42.996 | 38.9 | 0.10311
14.137 | 43.993 | 34.9 | 0.10311
14.137 | 44.993 | 30.7 | 0.1031
14.137 | 45.995 | 26.6 | 0.10311
14.137 | 46.996 | 22.9 | 0.10311
14.137 | 47.992 | 19.7 | 0.10311
14.137 | 48.993 | 16.8 | 0.10311
14.137 | 49.995 | 14.5 | 0.10311
14.137 | 50.995 | 12.5 | 0.10311
14.137 | 51.993 | 10.8 | 0.1031
14.137 | 52.993 | 9.4 | 0.1031
14.137 | 53.995 | 8.2 | 0.10311
14.137 | 54.995 | 7.2 | 0.1031
14.137 | 55.992 | 6.4 | 0.10311
14.137 | 56.993 | 5.7 | 0.10311
14.137 | 57.994 | 5.1 | 0.1031
14.137 | 58.995 | 4.5 | 0.1031
14.137 | 59.992 | 4.1 | 0.10311
14.137 | 60.992 | 3.8 | 0.10311
14.137 | 61.994 | 3.5 | 0.10311
14.137 | 62.993 | 3.2 | 0.10311
14.137 | 63.99 | 2.9 | 0.10311
14.137 | 64.991 | 2.7 | 0.1031
14.137 | 65.992 | 2.5 | 0.10311
14.137 | 66.993 | 2.3 | 0.10311
14.137 | 67.99 | 2.2 | 0.10311
14.137 | 68.991 | 2 | 0.10311
14.137 | 69.993 | 1.9 | 0.10312

## 50G w Shield
! begin File Header
BD999051.stp | ! data file
2011-06-10 | ! date
13:55 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
71 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Center Gauss=50 Grid with tube
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter
14.137 | -0.002 | 1.8 | 0.1031
14.137 | 0.993 | 1.9 | 0.1031
14.137 | 1.992 | 1.7 | 0.1031
14.137 | 2.993 | 2.1 | 0.10311
14.137 | 3.993 | 2.4 | 0.1031
14.137 | 4.99 | 2.6 | 0.1031
14.137 | 5.995 | 2.8 | 0.10311
14.137 | 6.993 | 3.1 | 0.1031
14.137 | 7.992 | 3.4 | 0.10311
14.137 | 8.992 | 3.7 | 0.10312
14.137 | 9.992 | 4.1 | 0.10311
14.137 | 10.995 | 4.5 | 0.1031
14.137 | 11.991 | 5 | 0.10312
14.137 | 12.99 | 5.6 | 0.10311
14.137 | 13.993 | 6.2 | 0.10311
14.137 | 14.991 | 6.9 | 0.10311
14.137 | 15.991 | 7.7 | 0.10312
14.137 | 16.99 | 8.7 | 0.10311
14.137 | 17.992 | 9.8 | 0.10311
14.137 | 18.994 | 10.8 | 0.10312
14.137 | 19.988 | 12 | 0.10311
14.137 | 20.991 | 12.9 | 0.10311
14.137 | 21.993 | 13.4 | 0.10311
14.137 | 22.992 | 12.5 | 0.10311
14.137 | 23.992 | 9.8 | 0.10311
14.137 | 24.989 | 5.8 | 0.10312
14.137 | 25.993 | 2.6 | 0.10312
14.137 | 26.994 | 0.9 | 0.10311
14.137 | 27.989 | 0.4 | 0.10312
14.137 | 28.991 | 0.2 | 0.10312
14.137 | 29.992 | 0.2 | 0.10311
14.137 | 30.994 | 0.2 | 0.10312
14.137 | 31.991 | 0.2 | 0.10312
14.137 | 32.99 | 0.2 | 0.10311
14.137 | 33.994 | 0.2 | 0.10313
14.137 | 34.993 | 0.2 | 0.10312
14.137 | 35.991 | 0.1 | 0.10312
14.137 | 36.992 | 0.2 | 0.10311
14.137 | 37.991 | 0.2 | 0.10312
14.137 | 38.994 | 0.2 | 0.10312
14.137 | 39.99 | 0.2 | 0.10312
14.137 | 40.991 | 0.2 | 0.10312
14.137 | 41.994 | 0.4 | 0.10312
14.137 | 42.992 | 1 | 0.10312
14.137 | 43.991 | 2.5 | 0.10312
14.137 | 44.991 | 5.8 | 0.10313
14.137 | 45.992 | 9.9 | 0.10313
14.137 | 46.994 | 12.6 | 0.10312
14.137 | 47.989 | 13.6 | 0.10312
14.137 | 48.991 | 13.2 | 0.10312
14.137 | 49.993 | 12.3 | 0.10312
14.137 | 50.992 | 11.2 | 0.10312
14.137 | 51.99 | 10.1 | 0.10312
14.137 | 52.991 | 9 | 0.10312
14.137 | 53.993 | 8 | 0.10312
14.137 | 54.993 | 7.2 | 0.10313
14.137 | 55.99 | 6.4 | 0.10312
14.137 | 56.991 | 5.8 | 0.10312
14.137 | 57.992 | 5.2 | 0.10312
14.137 | 58.992 | 4.7 | 0.10312
14.137 | 59.99 | 4.2 | 0.10312
14.137 | 60.99 | 3.8 | 0.10312
14.137 | 61.992 | 3.5 | 0.10311
14.137 | 62.991 | 3.2 | 0.10312
14.137 | 63.988 | 2.9 | 0.10312
14.137 | 64.989 | 2.7 | 0.10312
14.137 | 65.99 | 2.5 | 0.10312
14.137 | 66.991 | 2.3 | 0.10312
14.137 | 67.988 | 2.2 | 0.10312
14.137 | 68.989 | 2 | 0.10312
14.137 | 69.991 | 1.9 | 0.10313

## 40G No Shield
! begin File Header
BD999052.stp | ! data file
2011-06-10 | ! date
14:11 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
71 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Center Gauss=40 Grid no tube
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter
14.136 | -0.001 | 1.5 | 0.079942
14.137 | 0.993 | 1.6 | 0.07994
14.137 | 1.992 | 1.7 | 0.07994
14.136 | 2.993 | 1.9 | 0.079952
14.136 | 3.993 | 2 | 0.079951
14.136 | 4.989 | 2.2 | 0.079947
14.136 | 5.995 | 2.4 | 0.079955
14.136 | 6.993 | 2.6 | 0.079956
14.136 | 7.992 | 2.8 | 0.079952
14.136 | 8.992 | 3.2 | 0.079951
14.136 | 9.992 | 3.5 | 0.079953
14.136 | 10.995 | 3.8 | 0.079944
14.136 | 11.991 | 4.3 | 0.079948
14.136 | 12.991 | 4.7 | 0.079953
14.136 | 13.993 | 5.3 | 0.079953
14.136 | 14.992 | 6 | 0.079951
14.136 | 15.991 | 6.8 | 0.079955
14.136 | 16.989 | 7.7 | 0.079944
14.136 | 17.992 | 8.8 | 0.079955
14.136 | 18.994 | 10.2 | 0.079954
14.136 | 19.988 | 11.8 | 0.07995
14.136 | 20.991 | 13.7 | 0.079954
14.136 | 21.992 | 15.9 | 0.079954
14.136 | 22.992 | 18.5 | 0.079951
14.136 | 23.992 | 21.5 | 0.079944
14.136 | 24.989 | 24.7 | 0.07995
14.136 | 25.993 | 28.1 | 0.079956
14.137 | 26.993 | 31.3 | 0.079949
14.137 | 27.989 | 34 | 0.079954
14.137 | 28.991 | 36.2 | 0.079959
14.137 | 29.992 | 37.7 | 0.079937
14.137 | 30.994 | 38.8 | 0.079946
14.137 | 31.991 | 39.5 | 0.079945
14.137 | 32.99 | 39.8 | 0.079946
14.137 | 33.994 | 40.1 | 0.079944
14.137 | 34.993 | 40.1 | 0.079951
14.137 | 35.991 | 40.1 | 0.079939
14.137 | 36.992 | 39.8 | 0.079948
14.137 | 37.991 | 39.4 | 0.079946
14.137 | 38.994 | 38.7 | 0.079947
14.137 | 39.99 | 37.7 | 0.07994
14.137 | 40.991 | 36.1 | 0.079946
14.137 | 41.993 | 33.9 | 0.079954
14.137 | 42.992 | 31.2 | 0.079948
14.137 | 43.991 | 27.9 | 0.079957
14.137 | 44.991 | 24.7 | 0.079952
14.137 | 45.992 | 21.5 | 0.079939
14.137 | 46.993 | 18.6 | 0.079941
14.137 | 47.989 | 16.1 | 0.079936
14.137 | 48.991 | 13.9 | 0.079938
14.137 | 49.993 | 12 | 0.079948
14.137 | 50.992 | 10.4 | 0.079948
14.137 | 51.99 | 9.1 | 0.07995
14.137 | 52.991 | 8 | 0.079948
14.137 | 53.992 | 7.1 | 0.079955
14.137 | 54.993 | 6.2 | 0.07995
14.137 | 55.99 | 5.5 | 0.079946
14.137 | 56.99 | 4.9 | 0.079953
14.137 | 57.992 | 4.4 | 0.079951
14.137 | 58.992 | 4 | 0.079947
14.137 | 59.99 | 3.6 | 0.079943
14.137 | 60.99 | 3.3 | 0.079946
14.137 | 61.992 | 3 | 0.07994
14.137 | 62.991 | 2.7 | 0.07995
14.137 | 63.988 | 2.5 | 0.079948
14.137 | 64.989 | 2.3 | 0.079941
14.137 | 65.99 | 2.1 | 0.079949
14.137 | 66.991 | 2 | 0.079951
14.137 | 67.988 | 1.9 | 0.079943
14.137 | 68.989 | 1.8 | 0.079944
14.137 | 69.99 | 1.7 | 0.079944

## 40G w Shield
! begin File Header
BD999053.stp | ! data file
2011-06-10 | ! date
14:23 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
71 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Center Gauss=40 Grid w tube
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter
14.136 | -0.001 | 1.5 | 0.079936
14.136 | 0.993 | 1.6 | 0.07994
14.136 | 1.992 | 1.7 | 0.07995
14.136 | 2.993 | 1.8 | 0.079949
14.136 | 3.993 | 2 | 0.079943
14.136 | 4.99 | 2.1 | 0.079955
14.136 | 5.995 | 2.3 | 0.079948
14.136 | 6.993 | 2.5 | 0.079945
14.136 | 7.992 | 2.7 | 0.07994
14.136 | 8.992 | 3 | 0.07995
14.136 | 9.992 | 3.2 | 0.079947
14.136 | 10.995 | 3.6 | 0.079951
14.136 | 11.991 | 4 | 0.079947
14.136 | 12.991 | 4.4 | 0.079944
14.136 | 13.993 | 4.9 | 0.079949
14.136 | 14.991 | 5.5 | 0.079943
14.136 | 15.991 | 6.1 | 0.079951
14.136 | 16.989 | 6.8 | 0.079949
14.136 | 17.992 | 7.7 | 0.079949
14.136 | 18.994 | 8.5 | 0.07995
14.136 | 19.988 | 9.5 | 0.079943
14.136 | 20.991 | 10.2 | 0.079943
14.136 | 21.992 | 10.5 | 0.079946
14.136 | 22.992 | 9.9 | 0.079938
14.136 | 23.992 | 7.8 | 0.079939
14.136 | 24.989 | 4.6 | 0.079941
14.136 | 25.993 | 1.9 | 0.079949
14.136 | 26.993 | 0.7 | 0.079941
14.136 | 27.989 | 0.3 | 0.079941
14.136 | 28.991 | 0.2 | 0.079947
14.137 | 29.992 | 0.2 | 0.079943
14.137 | 30.994 | 0.1 | 0.079946
14.137 | 31.991 | 0.1 | 0.079952
14.137 | 32.99 | 0.1 | 0.079944
14.137 | 33.994 | 0.1 | 0.079938
14.137 | 34.993 | 0.1 | 0.079939
14.137 | 35.991 | 0.1 | 0.079939
14.137 | 36.992 | 0.1 | 0.079939
14.137 | 37.991 | 0.2 | 0.079941
14.137 | 38.994 | 0.2 | 0.079938
14.137 | 39.99 | 0.2 | 0.079935
14.137 | 40.991 | 0.2 | 0.079942
14.137 | 41.993 | 0.3 | 0.079947
14.137 | 42.993 | 0.7 | 0.079936
14.137 | 43.991 | 1.9 | 0.079942
14.137 | 44.99 | 4.5 | 0.079942
14.137 | 45.992 | 7.7 | 0.079932
14.137 | 46.993 | 9.9 | 0.079938
14.137 | 47.989 | 10.6 | 0.079936
14.137 | 48.991 | 10.4 | 0.079942
14.137 | 49.993 | 9.7 | 0.079942
14.137 | 50.993 | 8.8 | 0.079948
14.137 | 51.99 | 7.9 | 0.079942
14.137 | 52.99 | 7.2 | 0.079945
14.137 | 53.992 | 6.4 | 0.079948
14.137 | 54.993 | 5.7 | 0.079941
14.137 | 55.989 | 5.1 | 0.079932
14.137 | 56.99 | 4.6 | 0.079941
14.137 | 57.992 | 4.2 | 0.07994
14.137 | 58.992 | 3.7 | 0.079944
14.137 | 59.99 | 3.4 | 0.079938
14.137 | 60.99 | 3.1 | 0.07995
14.137 | 61.992 | 2.8 | 0.079943
14.137 | 62.991 | 2.6 | 0.079937
14.137 | 63.988 | 2.4 | 0.07994
14.137 | 64.989 | 2.2 | 0.079939
14.137 | 65.99 | 2.1 | 0.079939
14.137 | 66.991 | 1.9 | 0.079942
14.137 | 67.988 | 1.8 | 0.079936
14.137 | 68.989 | 1.7 | 0.079944
14.137 | 69.99 | 1.6 | 0.079952

## 30G No Shield
! begin File Header
BD999054.stp | ! data file
2011-06-10 | ! date
14:32 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
71 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Center Gauss=30 Grid no tube
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter
14.136 | -0.002 | 1.2 | 0.056048
14.136 | 0.993 | 1.3 | 0.056044
14.136 | 1.992 | 1.4 | 0.056044
14.136 | 2.994 | 1.5 | 0.056045
14.136 | 3.992 | 1.6 | 0.056045
14.136 | 4.99 | 1.7 | 0.05605
14.136 | 5.994 | 1.9 | 0.056051
14.136 | 6.993 | 2 | 0.056049
14.136 | 7.991 | 2.2 | 0.056042
14.136 | 8.993 | 2.4 | 0.056041
14.136 | 9.991 | 2.7 | 0.056041
14.136 | 10.995 | 2.9 | 0.056042
14.136 | 11.991 | 3.2 | 0.056046
14.136 | 12.99 | 3.6 | 0.056054
14.136 | 13.993 | 4.1 | 0.056052
14.136 | 14.991 | 4.6 | 0.056044
14.136 | 15.991 | 5.1 | 0.056045
14.136 | 16.99 | 5.8 | 0.056045
14.136 | 17.991 | 6.6 | 0.05604
14.136 | 18.994 | 7.7 | 0.056044
14.136 | 19.988 | 8.8 | 0.056046
14.136 | 20.991 | 10.2 | 0.056047
14.136 | 21.992 | 11.9 | 0.056047
14.136 | 22.991 | 13.9 | 0.056048
14.136 | 23.991 | 16.1 | 0.05605
14.136 | 24.99 | 18.6 | 0.056053
14.136 | 25.992 | 21.1 | 0.056057
14.136 | 26.993 | 23.4 | 0.056049
14.136 | 27.989 | 25.5 | 0.056051
14.136 | 28.991 | 27.2 | 0.05605
14.136 | 29.992 | 28.3 | 0.056039
14.137 | 30.994 | 29.1 | 0.056042
14.137 | 31.991 | 29.5 | 0.056041
14.137 | 32.99 | 29.9 | 0.056047
14.137 | 33.993 | 30 | 0.056049
14.137 | 34.993 | 30.1 | 0.056051
14.137 | 35.991 | 30.1 | 0.056052
14.137 | 36.992 | 29.9 | 0.056047
14.137 | 37.991 | 29.6 | 0.056046
14.137 | 38.993 | 29.1 | 0.056053
14.137 | 39.99 | 28.3 | 0.056047
14.137 | 40.991 | 27.1 | 0.056054
14.137 | 41.993 | 25.4 | 0.056049
14.137 | 42.992 | 23.4 | 0.056043
14.137 | 43.991 | 21.1 | 0.056045
14.137 | 44.99 | 18.6 | 0.056046
14.137 | 45.992 | 16.2 | 0.056046
14.137 | 46.993 | 14 | 0.056041
14.137 | 47.989 | 12.1 | 0.056058
14.137 | 48.99 | 10.4 | 0.056048
14.137 | 49.993 | 9.1 | 0.056049
14.137 | 50.992 | 7.9 | 0.056048
14.137 | 51.99 | 6.9 | 0.056053
14.137 | 52.99 | 6.1 | 0.056039
14.137 | 53.992 | 5.4 | 0.056052
14.137 | 54.993 | 4.7 | 0.056049
14.137 | 55.989 | 4.2 | 0.056046
14.137 | 56.99 | 3.8 | 0.056048
14.137 | 57.991 | 3.4 | 0.056046
14.137 | 58.992 | 3.1 | 0.056046
14.137 | 59.99 | 2.8 | 0.056055
14.137 | 60.99 | 2.5 | 0.056044
14.137 | 61.992 | 2.3 | 0.05604
14.137 | 62.991 | 2.2 | 0.056043
14.137 | 63.988 | 2 | 0.056046
14.137 | 64.989 | 1.9 | 0.05604
14.137 | 65.99 | 1.7 | 0.056046
14.137 | 66.991 | 1.7 | 0.056044
14.137 | 67.988 | 1.6 | 0.056041
14.137 | 68.988 | 1.4 | 0.056048
14.137 | 69.991 | 1.4 | 0.056046

## 30G w Shield
! begin File Header
BD999055.stp | ! data file
2011-06-10 | ! date
14:41 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
71 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Center Gauss=30 Grid w tube
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter
14.136 | -0.002 | 1.2 | 0.056036
14.136 | 0.992 | 1.3 | 0.05605
14.136 | 1.992 | 1.4 | 0.056054
14.136 | 2.993 | 1.4 | 0.056052
14.136 | 3.992 | 1.6 | 0.056047
14.136 | 4.989 | 1.7 | 0.056047
14.136 | 5.994 | 1.8 | 0.056044
14.136 | 6.992 | 1.9 | 0.05604
14.136 | 7.991 | 2.1 | 0.056033
14.136 | 8.992 | 2.3 | 0.056032
14.136 | 9.991 | 2.5 | 0.056047
14.136 | 10.995 | 2.7 | 0.056033
14.136 | 11.991 | 3 | 0.056039
14.136 | 12.99 | 3.4 | 0.056036
14.136 | 13.993 | 3.7 | 0.056037
14.136 | 14.991 | 4.2 | 0.056046
14.136 | 15.991 | 4.6 | 0.056037
14.136 | 16.989 | 5.2 | 0.056037
14.136 | 17.991 | 5.8 | 0.056047
14.136 | 18.994 | 6.5 | 0.056047
14.136 | 19.988 | 7.2 | 0.056036
14.136 | 20.991 | 7.7 | 0.056038
14.136 | 21.992 | 7.9 | 0.056033
14.136 | 22.991 | 7.4 | 0.056035
14.136 | 23.991 | 5.8 | 0.056029
14.136 | 24.989 | 3.4 | 0.056031
14.136 | 25.992 | 1.5 | 0.056033
14.136 | 26.993 | 0.5 | 0.056027
14.136 | 27.989 | 0.2 | 0.056032
14.136 | 28.991 | 0.1 | 0.05604
14.136 | 29.992 | 0.1 | 0.056036
14.136 | 30.994 | 0.1 | 0.056036
14.137 | 31.991 | 0.1 | 0.056038
14.137 | 32.99 | 0.1 | 0.056035
14.137 | 33.993 | 0.1 | 0.056034
14.137 | 34.993 | 0.1 | 0.056036
14.137 | 35.991 | 0.1 | 0.056037
14.137 | 36.992 | 0.1 | 0.056035
14.137 | 37.991 | 0.1 | 0.056037
14.137 | 38.993 | 0.1 | 0.05604
14.137 | 39.99 | 0.1 | 0.056032
14.137 | 40.991 | 0.2 | 0.056041
14.137 | 41.993 | 0.2 | 0.056036
14.137 | 42.992 | 0.5 | 0.056036
14.137 | 43.991 | 1.5 | 0.056038
14.137 | 44.99 | 3.4 | 0.056033
14.137 | 45.992 | 5.8 | 0.056027
14.137 | 46.993 | 7.4 | 0.056044
14.137 | 47.989 | 8 | 0.056037
14.137 | 48.99 | 7.9 | 0.056038
14.137 | 49.992 | 7.4 | 0.056043
14.137 | 50.992 | 6.7 | 0.056042
14.137 | 51.99 | 6.1 | 0.056042
14.137 | 52.99 | 5.4 | 0.056042
14.137 | 53.992 | 4.9 | 0.056046
14.137 | 54.993 | 4.4 | 0.056042
14.137 | 55.989 | 3.9 | 0.056036
14.137 | 56.99 | 3.5 | 0.056043
14.137 | 57.992 | 3.2 | 0.056037
14.137 | 58.992 | 2.9 | 0.056035
14.137 | 59.989 | 2.6 | 0.05604
14.137 | 60.989 | 2.4 | 0.056041
14.137 | 61.992 | 2.2 | 0.056032
14.137 | 62.991 | 2.1 | 0.056031
14.137 | 63.988 | 1.9 | 0.05604
14.137 | 64.989 | 1.8 | 0.056035
14.137 | 65.989 | 1.7 | 0.056044
14.137 | 66.99 | 1.6 | 0.056045
14.137 | 67.988 | 1.5 | 0.056035
14.137 | 68.989 | 1.4 | 0.056036
14.137 | 69.99 | 1.3 | 0.056041

## 20G No Shield
! begin File Header
BD999056.stp | ! data file
2011-06-10 | ! date
14:50 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
71 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Center Gauss=20 Grid no tube
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter
14.136 | -0.002 | 0.9 | 0.033143
14.136 | 0.992 | 1 | 0.033143
14.136 | 1.992 | 1.1 | 0.033145
14.136 | 2.993 | 1.1 | 0.033153
14.136 | 3.993 | 1.2 | 0.033147
14.136 | 4.989 | 1.3 | 0.033152
14.136 | 5.994 | 1.4 | 0.03315
14.136 | 6.992 | 1.4 | 0.033146
14.136 | 7.991 | 1.6 | 0.033145
14.136 | 8.992 | 1.8 | 0.033141
14.136 | 9.991 | 1.9 | 0.033135
14.136 | 10.994 | 2 | 0.033133
14.136 | 11.991 | 2.2 | 0.033137
14.136 | 12.989 | 2.5 | 0.033135
14.136 | 13.993 | 2.7 | 0.033136
14.136 | 14.99 | 3.1 | 0.033138
14.136 | 15.991 | 3.5 | 0.033147
14.136 | 16.99 | 3.9 | 0.033139
14.136 | 17.991 | 4.5 | 0.033139
14.136 | 18.993 | 5.1 | 0.033141
14.136 | 19.988 | 5.9 | 0.033135
14.136 | 20.99 | 6.8 | 0.033143
14.136 | 21.992 | 8 | 0.033147
14.136 | 22.991 | 9.3 | 0.033148
14.136 | 23.991 | 10.7 | 0.033138
14.136 | 24.989 | 12.4 | 0.03314
14.136 | 25.992 | 14 | 0.033137
14.136 | 26.993 | 15.6 | 0.033143
14.136 | 27.989 | 17 | 0.033135
14.136 | 28.991 | 18 | 0.033134
14.136 | 29.992 | 18.8 | 0.033138
14.136 | 30.994 | 19.3 | 0.033138
14.136 | 31.991 | 19.7 | 0.033142
14.137 | 32.99 | 19.9 | 0.033142
14.137 | 33.993 | 20 | 0.033152
14.137 | 34.993 | 20 | 0.033145
14.137 | 35.991 | 20 | 0.033142
14.137 | 36.991 | 19.9 | 0.033148
14.137 | 37.99 | 19.7 | 0.033145
14.137 | 38.993 | 19.4 | 0.033149
14.137 | 39.99 | 18.8 | 0.033141
14.137 | 40.991 | 18 | 0.033148
14.137 | 41.993 | 16.9 | 0.033137
14.137 | 42.992 | 15.6 | 0.033145
14.137 | 43.99 | 14 | 0.033137
14.137 | 44.99 | 12.4 | 0.033146
14.137 | 45.992 | 10.8 | 0.033134
14.137 | 46.993 | 9.4 | 0.033133
14.137 | 47.989 | 8.1 | 0.033139
14.137 | 48.99 | 7.1 | 0.033131
14.137 | 49.992 | 6.1 | 0.033141
14.137 | 50.992 | 5.4 | 0.033149
14.137 | 51.99 | 4.7 | 0.033146
14.137 | 52.99 | 4.1 | 0.033139
14.137 | 53.992 | 3.7 | 0.033148
14.137 | 54.993 | 3.3 | 0.03315
14.137 | 55.989 | 2.9 | 0.033143
14.137 | 56.99 | 2.7 | 0.033147
14.137 | 57.991 | 2.4 | 0.033146
14.137 | 58.992 | 2.2 | 0.03314
14.137 | 59.99 | 2 | 0.033145
14.137 | 60.989 | 1.9 | 0.033148
14.137 | 61.991 | 1.7 | 0.033143
14.137 | 62.99 | 1.6 | 0.033146
14.137 | 63.987 | 1.5 | 0.033152
14.137 | 64.988 | 1.4 | 0.033144
14.137 | 65.99 | 1.3 | 0.033148
14.137 | 66.99 | 1.3 | 0.033149
14.137 | 67.987 | 1.2 | 0.033141
14.137 | 68.988 | 1.1 | 0.033144
14.137 | 69.99 | 1.1 | 0.033147

## 20G w Shield
! begin File Header
BD999057.stp | ! data file
2011-06-10 | ! date
15:02 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
71 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Center Gauss=20 Grid w tube
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter
14.136 | -0.002 | 0.8 | 0.033133
14.136 | 0.992 | 0.9 | 0.03313
14.136 | 1.991 | 1 | 0.033133
14.136 | 2.993 | 1.1 | 0.033137
14.136 | 3.992 | 1.2 | 0.033132
14.136 | 4.989 | 1.2 | 0.033135
14.136 | 5.994 | 1.3 | 0.033141
14.136 | 6.993 | 1.4 | 0.033137
14.136 | 7.992 | 1.5 | 0.033142
14.136 | 8.992 | 1.6 | 0.033137
14.136 | 9.991 | 1.8 | 0.033137
14.136 | 10.995 | 1.9 | 0.03313
14.136 | 11.99 | 2.1 | 0.03313
14.136 | 12.99 | 2.3 | 0.03314
14.136 | 13.992 | 2.5 | 0.033137
14.136 | 14.991 | 2.8 | 0.033145
14.136 | 15.991 | 3.1 | 0.033147
14.136 | 16.989 | 3.5 | 0.033139
14.136 | 17.991 | 3.9 | 0.033133
14.136 | 18.993 | 4.4 | 0.033139
14.136 | 19.988 | 4.8 | 0.033137
14.136 | 20.99 | 5.2 | 0.033138
14.136 | 21.992 | 5.3 | 0.033151
14.136 | 22.991 | 4.9 | 0.033146
14.136 | 23.991 | 3.9 | 0.033141
14.136 | 24.989 | 2.3 | 0.033145
14.136 | 25.992 | 1 | 0.033147
14.136 | 26.993 | 0.4 | 0.033136
14.136 | 27.989 | 0.1 | 0.033139
14.136 | 28.991 | 0.1 | 0.033136
14.136 | 29.991 | 0.1 | 0.033136
14.136 | 30.993 | 0.1 | 0.033144
14.136 | 31.991 | 0.1 | 0.033145
14.137 | 32.99 | 0.1 | 0.033135
14.137 | 33.993 | 0.1 | 0.033141
14.137 | 34.993 | 0.1 | 0.033142
14.137 | 35.991 | 0.1 | 0.033136
14.137 | 36.991 | 0.1 | 0.033135
14.137 | 37.991 | 0.1 | 0.033142
14.137 | 38.993 | 0.1 | 0.033146
14.137 | 39.989 | 0.1 | 0.033137
14.137 | 40.99 | 0.1 | 0.033135
14.137 | 41.993 | 0.2 | 0.033134
14.137 | 42.991 | 0.4 | 0.033131
14.137 | 43.99 | 1 | 0.033135
14.137 | 44.99 | 2.3 | 0.033139
14.137 | 45.992 | 3.9 | 0.033136
14.137 | 46.993 | 5 | 0.033138
14.137 | 47.989 | 5.4 | 0.03314
14.137 | 48.99 | 5.3 | 0.033142
14.137 | 49.992 | 5 | 0.033139
14.137 | 50.992 | 4.6 | 0.033145
14.137 | 51.989 | 4.1 | 0.033142
14.137 | 52.99 | 3.7 | 0.033144
14.137 | 53.992 | 3.4 | 0.033149
14.137 | 54.993 | 3 | 0.033141
14.137 | 55.989 | 2.7 | 0.033138
14.137 | 56.99 | 2.5 | 0.033143
14.137 | 57.991 | 2.3 | 0.033136
14.137 | 58.992 | 2.1 | 0.033135
14.137 | 59.989 | 1.9 | 0.033141
14.137 | 60.989 | 1.8 | 0.033139
14.137 | 61.991 | 1.6 | 0.033138
14.137 | 62.99 | 1.5 | 0.033144
14.137 | 63.987 | 1.4 | 0.033147
14.137 | 64.988 | 1.4 | 0.033144
14.137 | 65.989 | 1.3 | 0.033151
14.137 | 66.99 | 1.2 | 0.033145
14.137 | 67.987 | 1.2 | 0.033145
14.137 | 68.988 | 1.1 | 0.033143
14.137 | 69.99 | 1.1 | 0.033146

## 10G No Shield
! begin File Header
BD999058.stp | ! data file
2011-06-10 | ! date
15:11 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
71 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Center Gauss=10 Grid No tube
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter
14.136 | -0.003 | 0.6 | 0.009043
14.136 | 0.992 | 0.6 | 0.009042
14.136 | 1.991 | 0.7 | 0.009039
14.136 | 2.993 | 0.7 | 0.009048
14.136 | 3.992 | 0.7 | 0.009045
14.136 | 4.989 | 0.8 | 0.009043
14.136 | 5.993 | 0.8 | 0.009043
14.136 | 6.993 | 0.9 | 0.009049
14.136 | 7.991 | 0.9 | 0.009041
14.136 | 8.992 | 1 | 0.009047
14.136 | 9.991 | 1.1 | 0.009043
14.136 | 10.995 | 1.2 | 0.009048
14.136 | 11.99 | 1.2 | 0.009046
14.136 | 12.99 | 1.4 | 0.009048
14.136 | 13.991 | 1.5 | 0.009041
14.136 | 14.991 | 1.7 | 0.009043
14.136 | 15.991 | 1.8 | 0.009045
14.136 | 16.989 | 2.1 | 0.009044
14.136 | 17.991 | 2.3 | 0.009046
14.136 | 18.993 | 2.6 | 0.009048
14.136 | 19.988 | 3.1 | 0.009041
14.136 | 20.99 | 3.5 | 0.009041
14.136 | 21.992 | 4.1 | 0.009049
14.136 | 22.991 | 4.7 | 0.009047
14.136 | 23.991 | 5.4 | 0.009043
14.136 | 24.989 | 6.2 | 0.009049
14.136 | 25.992 | 7.1 | 0.009046
14.136 | 26.993 | 7.9 | 0.00904
14.136 | 27.988 | 8.5 | 0.009038
14.136 | 28.991 | 9.1 | 0.009036
14.136 | 29.992 | 9.5 | 0.009041
14.136 | 30.993 | 9.8 | 0.009036
14.136 | 31.991 | 9.9 | 0.009038
14.137 | 32.989 | 10 | 0.009042
14.137 | 33.993 | 10 | 0.00904
14.137 | 34.992 | 10.1 | 0.009041
14.137 | 35.99 | 10.1 | 0.009044
14.137 | 36.991 | 10 | 0.009035
14.137 | 37.991 | 9.9 | 0.009048
14.137 | 38.993 | 9.8 | 0.009046
14.137 | 39.989 | 9.5 | 0.009038
14.137 | 40.99 | 9.1 | 0.009034
14.137 | 41.992 | 8.5 | 0.009038
14.137 | 42.991 | 7.9 | 0.009045
14.137 | 43.99 | 7.2 | 0.009041
14.137 | 44.99 | 6.3 | 0.009038
14.137 | 45.991 | 5.5 | 0.009035
14.137 | 46.993 | 4.8 | 0.009047
14.137 | 47.989 | 4.2 | 0.009042
14.137 | 48.99 | 3.6 | 0.00904
14.137 | 49.992 | 3.2 | 0.009044
14.137 | 50.991 | 2.8 | 0.009047
14.137 | 51.989 | 2.5 | 0.009048
14.137 | 52.99 | 2.2 | 0.009042
14.137 | 53.992 | 2 | 0.00905
14.137 | 54.992 | 1.8 | 0.009046
14.137 | 55.989 | 1.7 | 0.009045
14.137 | 56.99 | 1.5 | 0.009046
14.137 | 57.99 | 1.4 | 0.009052
14.137 | 58.992 | 1.3 | 0.009047
14.137 | 59.989 | 1.2 | 0.009045
14.137 | 60.989 | 1.1 | 0.009045
14.137 | 61.991 | 1.1 | 0.009045
14.137 | 62.99 | 1 | 0.009043
14.137 | 63.987 | 0.9 | 0.009037
14.137 | 64.988 | 0.9 | 0.009038
14.137 | 65.989 | 0.8 | 0.009038
14.137 | 66.99 | 0.8 | 0.009046
14.137 | 67.987 | 0.8 | 0.009031
14.137 | 68.988 | 0.7 | 0.009034
14.137 | 69.99 | 0.7 | 0.009036

## 10G w Shield
! begin File Header
BD999059.stp | ! data file
2011-06-10 | ! date
15:19 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
1 | ! X number of points
71 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Center Gauss=10 Grid w tube
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter
14.136 | -0.003 | 0.6 | 0.009026
14.136 | 0.992 | 0.6 | 0.009023
14.136 | 1.991 | 0.6 | 0.009036
14.136 | 2.993 | 0.7 | 0.009037
14.136 | 3.992 | 0.7 | 0.00903
14.136 | 4.989 | 0.8 | 0.009033
14.136 | 5.993 | 0.7 | 0.00904
14.136 | 6.993 | 0.8 | 0.00903
14.136 | 7.991 | 0.9 | 0.009022
14.136 | 8.992 | 0.9 | 0.009025
14.136 | 9.991 | 1 | 0.009026
14.136 | 10.995 | 1.1 | 0.00903
14.136 | 11.99 | 1.2 | 0.009042
14.136 | 12.99 | 1.3 | 0.009042
14.136 | 13.992 | 1.4 | 0.009042
14.136 | 14.991 | 1.5 | 0.009044
14.136 | 15.99 | 1.7 | 0.009047
14.136 | 16.989 | 1.9 | 0.009044
14.136 | 17.991 | 2 | 0.009042
14.136 | 18.993 | 2.2 | 0.009051
14.136 | 19.988 | 2.4 | 0.009042
14.136 | 20.99 | 2.6 | 0.009044
14.136 | 21.992 | 2.7 | 0.009052
14.136 | 22.991 | 2.5 | 0.009047
14.136 | 23.991 | 1.9 | 0.009043
14.136 | 24.989 | 1.2 | 0.009045
14.136 | 25.992 | 0.5 | 0.009051
14.136 | 26.993 | 0.2 | 0.009045
14.136 | 27.988 | 0.1 | 0.009053
14.136 | 28.99 | 0.1 | 0.009048
14.136 | 29.992 | 0.1 | 0.009045
14.136 | 30.993 | 0.1 | 0.009038
14.136 | 31.99 | 0.1 | 0.009039
14.137 | 32.989 | 0.1 | 0.009042
14.137 | 33.992 | 0.1 | 0.009042
14.137 | 34.993 | 0.1 | 0.009043
14.137 | 35.991 | 0.1 | 0.009043
14.137 | 36.991 | 0.1 | 0.009044
14.137 | 37.99 | 0.1 | 0.00904
14.137 | 38.993 | 0.1 | 0.009044
14.137 | 39.989 | 0.1 | 0.009039
14.137 | 40.99 | 0.1 | 0.009043
14.137 | 41.992 | 0.1 | 0.009038
14.137 | 42.992 | 0.2 | 0.009042
14.137 | 43.99 | 0.5 | 0.00904
14.137 | 44.99 | 1.2 | 0.009042
14.137 | 45.991 | 2 | 0.009036
14.137 | 46.993 | 2.6 | 0.009039
14.137 | 47.988 | 2.8 | 0.009043
14.137 | 48.99 | 2.7 | 0.009035
14.137 | 49.992 | 2.6 | 0.009039
14.137 | 50.991 | 2.4 | 0.009039
14.137 | 51.989 | 2.2 | 0.009029
14.137 | 52.99 | 2 | 0.009033
14.137 | 53.992 | 1.9 | 0.009045
14.137 | 54.992 | 1.7 | 0.009044
14.137 | 55.988 | 1.6 | 0.009034
14.137 | 56.99 | 1.4 | 0.009035
14.137 | 57.991 | 1.3 | 0.009029
14.137 | 58.992 | 1.2 | 0.009032
14.137 | 59.989 | 1.2 | 0.009031
14.137 | 60.989 | 1.1 | 0.009035
14.137 | 61.991 | 1.1 | 0.00903
14.137 | 62.99 | 1 | 0.009024
14.137 | 63.987 | 0.9 | 0.009022
14.137 | 64.988 | 0.8 | 0.009029
14.137 | 65.989 | 0.8 | 0.009029
14.137 | 66.99 | 0.8 | 0.009034
14.137 | 67.987 | 0.8 | 0.00903
14.137 | 68.987 | 0.7 | 0.009031
14.137 | 69.99 | 0.7 | 0.00903

## PS OFF no Shield
! begin File Header
BD999060.stp | ! data file
2011-06-13 | ! date
8:40 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
0 | ! X number of points
71 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Center PS OFF Grid no tube
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter
-0.001 | -0.002 | 0.3 | -0.000559
-0.001 | 0.994 | 0.3 | -0.000559
-0.001 | 1.995 | 0.3 | -0.000559
-0.001 | 2.995 | 0.3 | -0.00056
-0.001 | 3.995 | 0.3 | -0.000559
-0.001 | 4.992 | 0.3 | -0.00056
-0.001 | 5.995 | 0.3 | -0.000559
-0.001 | 6.996 | 0.3 | -0.00056
-0.001 | 7.994 | 0.3 | -0.00056
-0.001 | 8.994 | 0.4 | -0.00056
-0.001 | 9.994 | 0.4 | -0.000559
-0.001 | 10.996 | 0.3 | -0.00056
-0.001 | 11.995 | 0.4 | -0.00056
-0.001 | 12.991 | 0.4 | -0.000561
-0.001 | 13.995 | 0.4 | -0.000559
-0.001 | 14.994 | 0.5 | -0.00056
-0.001 | 15.993 | 0.5 | -0.00056
-0.001 | 16.992 | 0.5 | -0.00056
-0.001 | 17.993 | 0.6 | -0.00056
-0.001 | 18.995 | 0.6 | -0.000559
-0.001 | 19.992 | 0.7 | -0.000559
-0.001 | 20.992 | 0.8 | -0.00056
-0.001 | 21.994 | 0.9 | -0.00056
-0.001 | 22.994 | 1.1 | -0.00056
-0.001 | 23.994 | 1.2 | -0.00056
-0.001 | 24.992 | 1.4 | -0.000559
-0.001 | 25.994 | 1.5 | -0.00056
-0.001 | 26.995 | 1.7 | -0.00056
-0.001 | 27.992 | 1.9 | -0.00056
-0.001 | 28.992 | 1.9 | -0.00056
-0.001 | 29.994 | 2 | -0.000559
-0.001 | 30.995 | 2.1 | -0.000559
-0.001 | 31.993 | 2.1 | -0.00056
-0.001 | 32.992 | 2.2 | -0.00056
-0.001 | 33.994 | 2.2 | -0.000561
-0.001 | 34.995 | 2.2 | -0.00056
-0.001 | 35.993 | 2.2 | -0.000559
-0.001 | 36.993 | 2.2 | -0.00056
-0.001 | 37.993 | 2.1 | -0.00056
-0.001 | 38.995 | 2.1 | -0.000559
-0.001 | 39.992 | 2.1 | -0.00056
-0.001 | 40.992 | 2 | -0.00056
-0.001 | 41.994 | 1.9 | -0.00056
-0.001 | 42.994 | 1.8 | -0.00056
-0.001 | 43.992 | 1.6 | -0.00056
-0.001 | 44.992 | 1.5 | -0.00056
-0.001 | 45.994 | 1.3 | -0.000559
-0.001 | 46.994 | 1.2 | -0.000559
-0.001 | 47.991 | 1.1 | -0.00056
-0.001 | 48.991 | 0.9 | -0.000559
-0.001 | 49.994 | 0.9 | -0.00056
-0.001 | 50.994 | 0.8 | -0.000559
-0.001 | 51.991 | 0.7 | -0.000559
-0.001 | 52.991 | 0.7 | -0.000559
-0.001 | 53.993 | 0.7 | -0.00056
-0.001 | 54.994 | 0.6 | -0.00056
-0.001 | 55.991 | 0.6 | -0.00056
-0.001 | 56.991 | 0.6 | -0.00056
-0.001 | 57.993 | 0.6 | -0.000559
-0.001 | 58.994 | 0.5 | -0.00056
-0.001 | 59.991 | 0.5 | -0.000559
-0.001 | 60.99 | 0.5 | -0.000559
-0.001 | 61.993 | 0.5 | -0.00056
-0.001 | 62.992 | 0.5 | -0.000559
-0.001 | 63.989 | 0.4 | -0.00056
-0.001 | 64.989 | 0.5 | -0.000559
-0.001 | 65.991 | 0.5 | -0.00056
-0.001 | 66.992 | 0.5 | -0.00056
-0.001 | 67.989 | 0.4 | -0.000561
-0.001 | 68.989 | 0.4 | -0.00056
-0.001 | 69.991 | 0.4 | -0.00056

## PS OFF w Shield
! begin File Header
BD999061.stp | ! data file
2011-06-13 | ! date
8:54 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
0 | ! X number of points
71 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Center PS OFF Grid w tube
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter
-0.001 | -0.002 | 0.4 | -0.00056
-0.001 | 0.994 | 0.4 | -0.00056
-0.001 | 1.995 | 0.3 | -0.000561
-0.001 | 2.996 | 0.3 | -0.00056
-0.001 | 3.996 | 0.3 | -0.000561
-0.001 | 4.992 | 0.3 | -0.000561
-0.001 | 5.996 | 0.3 | -0.00056
-0.001 | 6.995 | 0.3 | -0.00056
-0.001 | 7.994 | 0.4 | -0.00056
-0.001 | 8.994 | 0.4 | -0.00056
-0.001 | 9.994 | 0.4 | -0.00056
-0.001 | 10.997 | 0.4 | -0.000559
-0.001 | 11.994 | 0.4 | -0.00056
-0.001 | 12.992 | 0.4 | -0.00056
-0.001 | 13.994 | 0.4 | -0.00056
-0.001 | 14.994 | 0.4 | -0.000559
-0.001 | 15.993 | 0.4 | -0.000559
-0.001 | 16.992 | 0.5 | -0.00056
-0.001 | 17.993 | 0.5 | -0.00056
-0.001 | 18.995 | 0.5 | -0.000559
-0.001 | 19.992 | 0.6 | -0.000559
-0.001 | 20.992 | 0.6 | -0.00056
-0.001 | 21.994 | 0.6 | -0.00056
-0.001 | 22.994 | 0.6 | -0.000559
-0.001 | 23.994 | 0.4 | -0.000559
-0.001 | 24.992 | 0.2 | -0.00056
-0.001 | 25.994 | 0.1 | -0.000559
-0.001 | 26.996 | 0 | -0.00056
-0.001 | 27.992 | 0 | -0.000559
-0.001 | 28.993 | 0 | -0.00056
-0.001 | 29.994 | 0 | -0.000561
-0.001 | 30.996 | 0 | -0.000561
-0.001 | 31.993 | 0 | -0.00056
-0.001 | 32.992 | 0 | -0.00056
-0.001 | 33.995 | 0 | -0.000561
-0.001 | 34.995 | 0 | -0.000559
-0.001 | 35.993 | 0 | -0.000559
-0.001 | 36.993 | 0 | -0.000559
-0.001 | 37.993 | 0 | -0.000559
-0.001 | 38.995 | 0 | -0.000559
-0.001 | 39.992 | 0 | -0.000558
-0.001 | 40.992 | 0 | -0.000559
-0.001 | 41.994 | 0 | -0.000559
-0.001 | 42.994 | 0 | -0.000558
-0.001 | 43.992 | 0.1 | -0.000559
-0.001 | 44.992 | 0.3 | -0.000558
-0.001 | 45.993 | 0.5 | -0.000559
-0.001 | 46.994 | 0.7 | -0.000559
-0.001 | 47.99 | 0.7 | -0.000558
-0.001 | 48.992 | 0.7 | -0.00056
-0.001 | 49.994 | 0.7 | -0.000559
-0.001 | 50.994 | 0.7 | -0.00056
-0.001 | 51.991 | 0.7 | -0.000559
-0.001 | 52.991 | 0.6 | -0.000559
-0.001 | 53.994 | 0.6 | -0.000559
-0.001 | 54.994 | 0.6 | -0.000558
-0.001 | 55.991 | 0.5 | -0.000558
-0.001 | 56.991 | 0.5 | -0.000559
-0.001 | 57.993 | 0.5 | -0.00056
-0.001 | 58.993 | 0.5 | -0.00056
-0.001 | 59.991 | 0.5 | -0.000559
-0.001 | 60.99 | 0.5 | -0.00056
-0.001 | 61.993 | 0.5 | -0.000559
-0.001 | 62.992 | 0.5 | -0.000559
-0.001 | 63.989 | 0.5 | -0.00056
-0.001 | 64.989 | 0.5 | -0.00056
-0.001 | 65.991 | 0.4 | -0.000561
-0.001 | 66.992 | 0.5 | -0.00056
-0.001 | 67.989 | 0.4 | -0.000559
-0.001 | 68.989 | 0.4 | -0.000559
-0.001 | 69.991 | 0.4 | -0.00056

## PS OFF no Jacks
! begin File Header
BD999062.stp | ! data file
2011-06-13 | ! date
9:27 | ! start time
5.1 | ! stepper code version
1 | ! number Z of currents
0 | ! X number of points
71 | ! Z number of points
2 | ! number of devices
0 | ! hall probe 1 offset
Note: Center PS OFF Grid No Jacks
! end File Header
! begin Step Header
0 | ! set current
0 | ! actual current at start of step
0 | ! actual current at end of step
! end Step Header
Position (X, Z) |  | Hall Probe #1 | Voltmeter
-0.001 | -0.002 | 0.4 | -0.000558
-0.001 | 0.994 | 0.3 | -0.000558
-0.001 | 1.995 | 0.4 | -0.000559
-0.001 | 2.996 | 0.4 | -0.000558
-0.001 | 3.995 | 0.4 | -0.000558
-0.001 | 4.992 | 0.4 | -0.000558
-0.001 | 5.996 | 0.4 | -0.000558
-0.001 | 6.996 | 0.4 | -0.000558
-0.001 | 7.994 | 0.4 | -0.000558
-0.001 | 8.995 | 0.4 | -0.000559
-0.001 | 9.994 | 0.4 | -0.000559
-0.001 | 10.997 | 0.4 | -0.000558
-0.001 | 11.994 | 0.4 | -0.000558
-0.001 | 12.992 | 0.4 | -0.000558
-0.001 | 13.995 | 0.5 | -0.000558
-0.001 | 14.994 | 0.5 | -0.000559
-0.001 | 15.993 | 0.5 | -0.000558
-0.001 | 16.992 | 0.6 | -0.000558
-0.001 | 17.993 | 0.6 | -0.000558
-0.001 | 18.995 | 0.7 | -0.000558
-0.001 | 19.992 | 0.7 | -0.000558
-0.001 | 20.992 | 0.8 | -0.000558
-0.001 | 21.994 | 1 | -0.000558
-0.001 | 22.994 | 1.1 | -0.000558
-0.001 | 23.993 | 1.2 | -0.000559
-0.001 | 24.992 | 1.4 | -0.000559
-0.001 | 25.994 | 1.6 | -0.000559
-0.001 | 26.996 | 1.7 | -0.000558
-0.001 | 27.992 | 1.8 | -0.000558
-0.001 | 28.993 | 2 | -0.000558
-0.001 | 29.994 | 2 | -0.00056
-0.001 | 30.995 | 2.1 | -0.00056
-0.001 | 31.994 | 2.2 | -0.000559
-0.001 | 32.992 | 2.2 | -0.000558
-0.001 | 33.995 | 2.2 | -0.000559
-0.001 | 34.995 | 2.2 | -0.000558
-0.001 | 35.993 | 2.2 | -0.000558
-0.001 | 36.993 | 2.2 | -0.000558
-0.001 | 37.993 | 2.2 | -0.000556
-0.001 | 38.995 | 2.2 | -0.000558
-0.001 | 39.992 | 2.1 | -0.000557
-0.001 | 40.993 | 2 | -0.000558
-0.001 | 41.994 | 1.9 | -0.000558
-0.001 | 42.994 | 1.7 | -0.000558
-0.001 | 43.992 | 1.6 | -0.000557
-0.001 | 44.992 | 1.4 | -0.000558
-0.001 | 45.994 | 1.3 | -0.000558
-0.001 | 46.995 | 1.2 | -0.000558
-0.001 | 47.991 | 1 | -0.000558
-0.001 | 48.991 | 0.9 | -0.000557
-0.001 | 49.993 | 0.8 | -0.000557
-0.001 | 50.994 | 0.7 | -0.000561
-0.001 | 51.991 | 0.7 | -0.000557
-0.001 | 52.991 | 0.7 | -0.000558
-0.001 | 53.993 | 0.6 | -0.000558
-0.001 | 54.994 | 0.6 | -0.000557
-0.001 | 55.991 | 0.5 | -0.000558
-0.001 | 56.991 | 0.5 | -0.000558
-0.001 | 57.992 | 0.5 | -0.000559
-0.001 | 58.994 | 0.5 | -0.000557
-0.001 | 59.991 | 0.5 | -0.000558
-0.001 | 60.99 | 0.5 | -0.000557
-0.001 | 61.993 | 0.5 | -0.000558
-0.001 | 62.992 | 0.5 | -0.000558
-0.001 | 63.989 | 0.4 | -0.000557
-0.001 | 64.99 | 0.4 | -0.000558
-0.001 | 65.99 | 0.5 | -0.000558
-0.001 | 66.992 | 0.4 | -0.000558
-0.001 | 67.989 | 0.4 | -0.000558
-0.001 | 68.989 | 0.4 | -0.000559
-0.001 | 69.991 | 0.4 | -0.000558