## Slide 1
Trigger Setup: Triggers are distributed from the TS to 12 FCAL and 12 BCAL
readout crates. SD front panel trigger (and sync) outputs from
each crate are compared
BCAL South (rocbcal7)
FCAL South (rocfcal7)
BCAL North (rocbcal1)
FCAL North (rocfcal1)
Trigger alignment between North and South crates of the BCAL and FCAL
For comparison, only one crate is chosen from each side (N and S)

## Slide 2
Trigger pulses
BCAL South (rocfcal7)
FCAL South (rocfcal7)
BCAL North (rocfcal1)
FCAL North (rocfcal1)
FCAL North (rocfcal1)
BCAL South (rocbcal7)
FCAL South (rocfcal7)
BCAL North (rocbcal1)

## Slide 3
BCAL South (rocfcal7)
FCAL South (rocfcal7)
BCAL North (rocfcal1)
FCAL North (rocfcal1)
SYNC pulses from FCAL and BCAL crates
FCAL North (rocfcal1)
BCAL South (rocbcal7)
FCAL South (rocfcal7)
BCAL North (rocbcal1)

## Slide 4
Relative Trigger Alignment: FCAL N6
(crates rocfcal1 – rocfcal6)
BCAL South (rocfcal7)
FCAL South (rocfcal7)
BCAL North (rocfcal1)
FCAL North (rocfcal1)
rocfcal1 (reference)
rocfcal2
rocfcal3
rocfcal4
rocfcal1 (reference)
rocfcal5
rocfcal6

## Slide 5
Relative Trigger Alignment: FCAL S6
(crates rocfcal7 – rocfcal12)
rocfcal7 (reference)
rocfcal8
rocfcal9
rocfcal10
rocfcal7 (reference)
rocfcal11
rocfcal12

## Slide 6
Relative Trigger Alignment: BCAL N6
(crates rocbcal1 – rocbcal6)
rocfcal7 (reference)
rocfcal8
rocfcal9
rocfcal10
rocfcal7 (reference)
rocfcal11
rocfcal12
rocbcal1 (reference)
rocbcal2
rocbcal3
rocbcal4
rocbcal1 (reference)
rocbcal5
rocbcal6

## Slide 7
Relative Trigger Alignment: BCAL S6
(crates rocbcal7 – rocbcal12)
rocfcal7 (reference)
rocfcal8
rocfcal9
rocfcal10
rocfcal7 (reference)
rocfcal11
rocfcal12
rocbcal1 (reference)
rocbcal2
rocbcal3
rocbcal4
rocbcal1 (reference)
rocbcal5
rocbcal6
rocbcal7 - yellow (reference)
rocbcal8 - blue
rocbcal9 - magenta
rocbcal7 - yellow (reference)
rocbcal10 - blue
rocbcal11 - magenta
rocbcal12 - green