## Slide 1
Status of Level-1 Bitwise Simulation
A. Somov, Jefferson Lab
October 15, 2013

## Slide 2: Overview
Detailed simulation of the trigger hardware
- use to calibrate hardware parameters
- verify trigger types
- realistic simulation of the trigger algorithm
Provides input to the hardware debugging tools (Test Vector)
Simulation framework development
Convert Geant hit energies/times into signal waveforms
- convert detector modules into crate/slot/channel (translation table)
Waveform digitization
Add noise, baseline fluctuations.
Save signal waveforms in the format accepted by the Test Vector
Simulates CTP/SSP/GTP response (pulse shapes)

## Slide 3
Bitwise simulation: b1 decays

## Slide 4
Bitwise simulation: b1 decays
BCAL TMAX
GTP BCAL Energy Sum
BCAL TMIN
FCAL TMIN
FCAL TMAX
GTP FCAL Energy Sum

## Slide 5
Bitwise simulation: Cosmic Trigger