## Slide 1: New Graphs Based on The Rectangular Shield

## Slide 2: The graph compares the effects of the rectangular shield as compared to the old cylindrical shield. The zoom is on the region of significance.

## Slide 3: The graph shows the difference between our initial tests in room 117 to the baseline test preformed in TEDF both were conducted with no magnetic field.

## Slide 4: This graph is from data taken while the field was increasing in strength to observe the effect of the field on the PMT signal amplitude. The test was conducted at 5 volts and 6 volts. The unshielded value was taken at 5 volts.

## Slide 5: The graph shows the comparison between the cylinder and rectangular shield in with respect to their effectiveness at shielding the PMT taken at 5 volts on both runs.

## Slide 6: The graph shows the comparison of the PMT signal amplitude at both 0 Gauss and 76.5 Gauss the percent difference in this graph is an average of % and a minimum of 7%.

## Slide 7: The above graph shows the comparison of the transverse field effects the first data set in the legend was taken first, the time proceeding with the descending data sets.