## Slide 1: Tagger Songsheet

## Slide 2: Hall D Songsheet
VTC = Vacuum ThermoCouple Gauge
VCG = Vacuum Cold Cathode Gauge
VTP = Vacuum Turbo Pump
VTW = Vacuum Thin Window
VRV = Vacuum Roughing Valve

## Slide 3: Accelerator Tagger Screen

## Slide 4: Accelerator Hall D Screen

## Slide 5: Hall D CSS Screen

## Slide 6: Tagger area vacuum
These 3 signals belong between these valves
Missing VBV5H00 and VTP5H00

## Slide 7: Collimator cave and US platform
VBV5H00 and VTP5H00 are in Tagger bldg
Should show vacuum thin window between these 2 gauges
Should show shield wall between these 2 gauges and valve
Collimaror Cave
US Platform
Collimaror Cave
Missing VTP5H02A on polarimeter