## Slide 1: Commissioning Analyses 3
A.A
25 Jun 2019

## Slide 2: outline
Event Selection
Timing Correction
Reco. Cherenkov Angle per Track
Photon Yield Study
Cherenkov Track Resolution

## Slide 3: Event Selection

## Slide 4: Event Selection
Pion Data
Selected
Selected
Selected

## Slide 5: Occupancy
DIRC Wall Occupancy distribution

## Slide 6: Timing Correction
Divide DIRC Wall into segments

## Slide 7: Timing Correction
Draw time spectrum for each cell
Reflected photons
Direct
photons

## Slide 8: Timing Correction
Draw time difference for each cell

## Slide 9: Timing Correction
Maps used to remove the shifts

## Slide 10: Reco. Cherenkov distribution per Track

## Slide 11: Reco. Cherenkov distribution per Track
One Track

## Slide 12: Fitting Parameters
Selected
Selected

## Slide 13: Photon Yield Study

## Slide 14: Photon yield
Increasing photon yield by increasing momentum

## Slide 15: Photon Yield Vs Momentum
Increasing photon yield by increasing momentum

## Slide 16: Cherenkov per track vs Yield
Expected pion
Expected Kaon
Few mrad shift
Reco. Cherenkov angel

## Slide 17: SPR vs Yield
Single photon resolution per track

## Slide 18: Photon Yield Map all Momenta
Photon Yield Map

## Slide 19: Cherenkov Track Resolution

## Slide 20: Cherenkov Track Resolution
Used as expected value for a given momentum range
Reconstructed Cherenkov angle per track @ momentum 3-4 GeV/c

## Slide 21: Cherenkov Track Resolution
Classify tracks based on number of photon yield per track
Photon yield per track @ momentum 3-4 GeV/c

## Slide 22: Cherenkov Track resolution
Sigma is the Cherenkov angle resolution per track
Cherenkov angle resolution per track @ momentum 3-4 GeV/c @ a given photon yield bin

## Slide 23: Cherenkov Track Resolution
Tracking resolution
Cherenkov angle resolution

## Slide 24: Average Cherenkov track resolution map
Optical Box Side
Region corresponds to photons with the longest path length

## Slide 25: 4 D Average Cherenkov track resolution map
Average Resolution (all momentum all photon yield) mrad

## Slide 26: Next Step
Cherenkov Systematics Study
Separation power Study