## Sheet1
Hall-D Broadband Hodoscope COUNTER ASSEMBLY
Label: [size]-[item] (for inventory)
LG&SC#: received packing [bag#]-[item#]
PMT#: Hamamatsu serial#
Counter#: installed position number in support frame (1…274) | [8 empty] | (see https://halldweb1.jlab.org/wiki/index.php/Specification_for_broad-band_tagging_hodoscope )
Position & angle alignment: 17 units surveyed by JLAB alignment group; all others checked using 1mm-grid paper
Visual inspection at CUA: BN, JP
Visual inspection results: to test (=check with LED in light-tight box using R9800 PMT); okay (=minor imperfection, try to polish)
Gluing: refer to procedure D00000-19-01-P002
Note: resin and hardener have to kit match - discard both components when one runs out!
RTV615A kit (1): resin bottle #038096, hardener jar #038100 | [7 empty] | 13KWFA006A kit (2): resin bottle #038096, hardener jar #038100
Glue joint inspection after 6hr curing process!
Label | Installed counter# | Size | LG&SC# | PMT# | Comments | installed on/by | link to PMT test results | Position align | Angle align | Surface notes | Glue Notes | Inspection results (FK) | Imperfections fixed? (date, initial) | gluing (date, initial) | glue joint inspection (initial) | mylar, tedlar wrapping (date, initial) | collar attachment (date, initial) | mu-metal wrapping (date, initial) | HV test (date, initial) | HV test: light tight? | HV test: I_mon | HV test: V_mon | store for shipping (date, initial) | install in frame (date, initial) | final HV test (dete, initial) | final HV test: spectrum saved? | Label
3-1-1 | 225 | 3mm | 1_1 | CM 9810 |  | 6-24/ jp | √ (NS) | 0.264 mm | 0.219° | Scintilator nicked | Good | okay | [6 empty] | 6/2 jp | yes | 799 | 900 | 6/16 jp | 6/24 jp |  |  | 3-1-1
3-1-2 | 233 | 3mm | 1_2 | CM 9864 | cable problem,counting fast | 6-24/ RT |  | 0.108 mm | 0.219° | bubbles in corner | Good | to test | [6 empty] | 6/3 bn | yes | 805.55 | 899.6 | 6/16 jp | 6/24 rt |  |  | 3-1-2
3-1-3 |  | 3mm | 1_3 | CM 9821 |  |  |  | 0.053 mm | 0.104° | Good | Very little bubbles | good | [14 empty] | 3-1-3
3-1-4 | 216 | 3mm | 1_4 | CM 9451 |  |  | √ (NS) | < 0.5 mm | <1° | Good | Good | good |  | 2/20 fk | jp | 2/24 jp | 3/3 jp | 3/10 jp | 6/2 jp | yes | 800.3 | 899.3 | 6/16 jp | 6/24 ns |  |  | 3-1-4
3-1-5 | 243 | 3mm | 1_5 | CM 9235 | cable 2 problem | 6-24/BN |  | < 0.5 mm | <1° | Good | Good | good |  | 2/4 fk | bn | 2/5 bn | 2/19 jp | 3/4 jp | 6/5 bn | yes | 798.85 | 899.6 | 6/16 jp | 6/24 bn |  |  | 3-1-5
3-1-6 | 223 | 3mm | 1_6 | CM 9229 |  | 6-24/JP | √ (NS) | < 0.5 mm | <1° | Good | Good | good |  | 2/4 fk | bn | 2/5 bn | 2/19 jp | 2/26 jp | 5/29 bn | yes | 798.75 | 899.6 | 6/16 jp | 6/24 jp |  |  | 3-1-6
3-1-7 | 222 | 3mm | 1_7 | CM 9232 |  | 6-24/JP | √(RT) | < 0.5 mm | <1° | Good | Good | good |  | 2/4 fk | bn | 2/5 bn | 2/19 jp | 2/26 jp | 6/2 jp | yes | 798.3 | 899.8 | 6/16 jp | 6/24 jp |  |  | 3-1-7
3-1-8 |  | 3mm | 1_8 | CM 9233 |  |  |  | < 0.5 mm | <1° | Good | Good | good |  | 2/4 fk | bn | 2/5 bn | 2/19 jp | 2/26 jp | [8 empty] | 3-1-8
3-1-9 |  | 3mm | 1_9 |  |  |  |  | < 0.5 mm | ~1-1.5° | Good | Large bubble seen at the corner | to test | [14 empty] | 3-1-9
3-1-10 | 214 | 3mm | 1_10 | CM 9833 |  | 6-24/FK | √ (NS) | < 0.5 mm | <1° | Good | Good | good |  | 2/18 fk | jp | 2/20 jp | 3/3 jp | 3/10 jp | 5/28 bn | yes | 799.4 | 899.8 | 6/16 jp | 6/24 fk |  |  | 3-1-10
3-1-11 |  | 3mm | 1_11 | CM 9244 |  |  |  | < 0.5 mm | <1° | Good | Good | good |  | 2/20 fk | jp | 2/24 jp | 3/3 jp | 3/10 jp | [8 empty] | 3-1-11
3-1-12 | 235 | 3mm | 1_12 | CM 9383 |  | 6-24/RT | √(RT) | < 0.5 mm | <1° | Tiny chip in scintilator corner | Good | to test |  | 2/20 fk | jp | 2/24 jp | 3/3 jp | 3/10 jp | 6/5 bn | yes | 797.8 | 900 | 6/16 jp | 6/24 rt |  |  | 3-1-12
3-1-13 | 209 | 3mm | 1_13 | CM 9241 |  | 6-24/FK | √(RT) | < 0.5 mm | <1° | Good | Good | good |  | 2/4 fk | bn | 2/5 bn | 2/19 jp | 2/26 jp | 5/15 bn | yes | 797.65 | 900 | 6/16 jp | 6/24 fk |  |  | 3-1-13
3-1-14 | 212 | 3mm | 1_14 | CM 9248 |  | 6-24/FK | √(NS) | < 0.5 mm | <1° | Good | Good | good |  | 2/20 fk | jp | 2/24 jp | 3/3 jp | 3/10 jp | 5/28 bn | yes | 798.3 | 899.8 | 6/16 jp | 6/24 fk |  |  | 3-1-14
3-1-15 | 232 | 3mm | 1_15 | CM 9413 |  | 6-24/JP | √ | < 0.5 mm | <1° | Good | Good | good |  | 2/20 fk | jp | 2/24 jp | 3/3 jp | 3/10 jp | 6/3 bn | yes | 796.9 | 899.5 | 6/16 jp | 6/24 jp |  |  | 3-1-15
3-1-16 | 221 | 3mm | 1_16 | CM 9471 |  | 6-24/FK | √(RT) | < 0.5 mm | <1° | Good | Little cloudy | to test |  | 2/20 fk | jp | 2/24 jp | 3/3 jp | 3/10 jp | 5/29 bn | yes | 797.55 | 899.8 | 6/16 jp | 6/24 fk |  |  | 3-1-16
3-1-17 | 234 | 3mm | 1_17 | CM 9393 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 11/26 fk | bn | 11/28 bn | 1/11 jp | 1/16 jp | 6/4 bn | yes | 797.25 | 900 | 6/16 jp | 6/24 bn |  |  | 3-1-17
3-1-18 | 237 | 3mm | 1_18 | CM 9942 |  | 6-24/RT | √(RT) | < 0.5 mm | <1° | Good | Good | good |  | 2/4 fk | bn | 2/5 bn | 2/19 jp | 3/4 jp | 6/4 bn | yes | 797.05 | 900 | 6/16 jp | 6/24 rt |  |  | 3-1-18
3-2-1 | 220 | 3mm | 2_1 | CM 9592 | working fine | 6-24/FK | √ | < 0.5 mm | <1° | Good | Messy glue | to test |  | 12/10 fk | fk | 12/12 bn | 1/11 jp | 1/16 jp | 6/2 jp | yes | 797 | 900 | 6/16 jp | 6/24 fk |  |  | 3-2-1
3-2-2 | 227 | 3mm | 2_2 | no label 10 |  | 6-24/BN | √(NS) | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/16 bn | yes | 798.5 | 900 | 6/16 jp | 6/24 bn |  |  | 3-2-2
3-2-3 |  | 3mm | 2_3 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 3-2-3
3-2-4 |  | 3mm | 2_4 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 3-2-4
3-2-5 | 264 | 3mm | 2_5 | CM 9837 |  |  |  | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/12 bn | yes | 797.4 | 900 | 6/16 jp | 6/24 ns |  |  | 3-2-5
3-2-6 |  | 3mm | 2_6 |  |  |  |  | < 0.5 mm | ~1.5° | Good | not perfectly glued at corner | to test | [14 empty] | 3-2-6
3-2-7 | 226 | 3mm | 2_7 | CM 9761 |  |  | √(NS) | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/12 bn | yes | 798.55 | 900 | 6/16 jp | 6/24 ns |  |  | 3-2-7
3-2-8 | 219 | 3mm | 2_8 | CM 9840 |  |  | √(RT) | < 0.5 mm | <1° | Good | Small bubble seen | to test | [6 empty] | 6/12 bn | yes | 797.75 | 899.6 | 6/16 jp | 6/24 ns |  |  | 3-2-8
3-2-9 | 211 | 3mm | 2_9 | CM 9843 | Cable 2 problem | 6-24/FK | (RT) | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/16 bn | yes | 797.45 | 899.6 | 6/16 jp | 6/24 fk |  |  | 3-2-9
3-2-10 | 260 | 3mm | 2_10 | CM 9841 |  | 6-24/RT |  | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/16 bn | yes | 796.6 | 900 | 6/16 jp | 6/24 rt |  |  | 3-2-10
3-2-11 | 242 | 3mm | 2_11 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [11 empty] | 6/24 ns |  |  | 3-2-11
3-2-12 | 208 | 3mm | 2_12 | CM 9705 |  | 6-24/FK | √(RT) | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/16 bn | yes | 797.3 | 900 | 6/16 jp | 6/24 fk |  |  | 3-2-12
3-2-13 |  | 3mm | 2_13 | CM 9831 |  |  | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/12 bn | yes | 797.7 | 900 | 6/16 jp |  |  |  | 3-2-13
3-2-14 | 263 | 3mm | 2_14 | CM 9746 |  | 6-24/RT |  | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/12 bn | yes | 799.6 | 899.6 | 6/16 jp | 6/24 rt |  |  | 3-2-14
3-2-15 | 265 | 3mm | 2_15 | CM 9845 |  | 6-24/RT |  | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/16 bn | yes | 796.7 | 899.6 | 6/16 jp | 6/24 rt |  |  | 3-2-15
3-2-16 |  | 3mm | 2_16 |  |  |  |  | < 0.5 mm | <1° | Bubble in the scintilator | Good | to test | [14 empty] | 3-2-16
3-2-17 | 248 | 3mm | 2_17 | CM 9770 |  | 6-24/BN | √(RT) | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/12 bn | yes | 798.9 | 899.6 | 6/16 jp | 6/24 bn |  |  | 3-2-17
3-2-18 |  | 3mm | 2_18 | CM 9756 |  |  |  | < 0.5 mm | <1° | Good | Good | good |  | 11/26 fk | bn | 11/28 bn | 12/5 jp | 1/8 jp | [8 empty] | 3-2-18
3-2-19 | 224 | 3mm | 2_19 | CM 9386 |  | 6-24/BN | √(NS) | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/16 bn | yes | 798.55 | 899.6 | 6/16 jp | 6/24 ns |  |  | 3-2-19
3-3-1 |  | 3mm | 3_1 |  |  |  |  | < 0.5 mm | <1° | Good | Completely white | BAD | [14 empty] | 3-3-1
3-3-2 | 230 | 3mm | 3_2 | CM 9826 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/17 bn | yes | 797.2 | 900 | 6/17 bn | 6/24 ns |  |  | 3-3-2
3-3-3 |  | 3mm | 3_3 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 3-3-3
3-3-4 | 253 | 3mm | 3_4 | CM 9887 | Cable 2 problem(removed) | 6-24/BN |  | < 0.5 mm | <1° | Good | Small bubble seen at the corner | good | [6 empty] | 6/17 bn | yes | 798.8 | 900 | 6/17 bn | 6/24 bn |  |  | 3-3-4
3-3-5 |  | 3mm | 3_5 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 3-3-5
3-3-6 |  | 3mm | 3_6 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 3-3-6
3-3-7 |  | 3mm | 3_7 |  |  |  |  | < 0.5 mm | <1° | Good | Small bubble at one corner and edge | to test | [14 empty] | 3-3-7
3-3-8 |  | 3mm | 3_8 |  |  |  |  | < 0.5 mm | <1° | Good | Small bubbles all around the corner | to test | [14 empty] | 3-3-8
3-3-9 | 228 | 3mm | 3_9 | CM 9781 | cable 1 not working(removed) | 6-24/BN |  | < 0.5 mm | ~1-1.5° | Small scratch on scintilator | Good | to test | [6 empty] | 6/16 bn | yes | 797.25 | 899.6 | 6/16 jp | 6/24 bn |  |  | 3-3-9
3-3-10 |  | 3mm | 3_10 |  |  |  |  | < 0.5 mm | <1° | Good | Slightly cloudy | to test | [14 empty] | 3-3-10
3-3-11 |  | 3mm | 3_11 | no label 1 |  |  |  | < 0.5 mm | <1° | Good | Slightly cloudy | to test |  | 11/26 fk | bn | 11/28 bn | 12/5 fk | 12/16 bn | [8 empty] | 3-3-11
3-3-12 | 267 | 3mm | 3_12 | CM 9558 |  | 6-24/JP |  | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/16 bn | yes | 798.85 | 900 | 6/16 jp | 6/24 jp |  |  | 3-3-12
3-3-13 | 217 | 3mm | 3_13 | no label 5 |  | 6-24/FK | √(RT) | < 0.5 mm | <1° | Small bubbles in Light guide | Good | to test |  | 11/21 fk | fk | 11/25 fk | 12/5 fk | 12/16 bn | 5/28 jp | yes | 801.95 | 900 | 6/16 jp | 6/24 fk |  |  | 3-3-13
3-3-14 | 210 | 3mm | 3_14 | CM 9653 |  | 6-24/FK | √(RT) | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/16 bn | yes | 798.8 | 899.6 | 6/16 jp | 6/24 fk |  |  | 3-3-14
3-3-15 |  | 3mm | 3_15 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 3-3-15
3-3-16 | 254 | 3mm | 3_16 | CM 9928 |  |  |  | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/17 bn | yes | 798.7 | 899.6 | 6/17 bn | 6/24 ns |  |  | 3-3-16
3-3-17 | 213 | 3mm | 3_17 | CM 9769 | Cable 2 problem(removed) | 6-24/FK |  | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/16 bn | yes | 798.7 | 900 | 6/16 jp | 6/24 fk |  |  | 3-3-17
3-3-18 | 231 | 3mm | 3_18 | CM 9636 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/17 bn | yes | 798.25 | 899.6 | 6/17 bn | 6/24 ns |  |  | 3-3-18
3-3-19 | 252 | 3mm | 3_19 | CM 9756 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/17 bn | yes | 799.1 | 899.6 | 6/17 bn | 6/24 bn |  |  | 3-3-19
3-4-1 | 218 | 3mm | 4_1 | CM 9630 |  |  | √(RT) | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/11 bn | yes | 799.2 | 899.6 | 6/16 jp | 6/24 ns |  |  | 3-4-1
3-4-2 | 239 | 3mm | 4_2 | CM 9766 |  |  | √(RT) | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/9 bn | yes | 799.1 | 900 | 6/16 jp | 6/24 ns |  |  | 3-4-2
3-4-3 | 251 | 3mm | 4_3 | CM 9792 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/9 bn | yes | 798.4 | 900 | 6/16 jp | 6/24 ns |  |  | 3-4-3
3-4-4 | 238 | 3mm | 4_4 | CM 9797 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/10 bn | yes | 796.2 | 900 | 6/16 jp | 6/24 bn |  |  | 3-4-4
3-4-5 | 250 | 3mm | 4_5 | CM 9742 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Small bubble seen in corner | good | [6 empty] | 6/9 bn | yes | 797.15 | 899.6 | 6/16 jp | 6/24 ns |  |  | 3-4-5
3-4-6 |  | 3mm | 4_6 | CM 9752 |  |  |  | < 0.5 mm | <1° | Good | Slightly cloudy | to test |  | 12/3 fk | bn | 12/5 bn | 12/10 jp | 12/16 bn | [8 empty] | 3-4-6
3-4-7 | 244 | 3mm | 4_7 | CM 9631 | cable 2 problem(removed) | 6-24/RT |  | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/10 bn | yes | 799.9 | 899.8 | 6/16 jp | 6/24 rt |  |  | 3-4-7
3-4-8 | 215 | 3mm | 4_8 | CM 9565 | working fine ( need to install ) | 6-24/FK |  | < 0.5 mm | <1° | Good | Slightly cloudy | to test |  | 11/21 fk | bn | 11/25 bn | 12/5 jp | 12/16 bn | 5/29 bn | yes | 796.8 | 900 | 6/16 jp | 6/24 fk |  |  | 3-4-8
3-4-9 | 249 | 3mm | 4_9 | CM 9809 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/9 bn | yes | 799.4 | 899.6 | 6/16 jp | 6/24 bn |  |  | 3-4-9
3-4-10 | 229 | 3mm | 4_10 | CM 9747 |  | 6-24/RT | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/10 bn | yes | 799.1 | 900 | 6/16 jp | 6/24 rt |  |  | 3-4-10
3-4-11 | 236 | 3mm | 4_11 | CM 9805 | Cable 2 problem(removed) | 6-24/NS |  | < 0.5 mm | <1° | Good | Bubble seen in corner | good | [6 empty] | 6/10 bn | yes | 796.6 | 900 | 6/16 jp | 6/24 ns |  |  | 3-4-11
3-4-12 |  | 3mm | 4_12 | CM 9826 |  |  |  | < 0.5 mm | <1° | Good | Tiny bubbles in corner | good | [14 empty] | 3-4-12
3-4-13 |  | 3mm | 4_13 |  |  |  |  | < 0.5 mm | <1° | Good | Tiny bubbles in corner and at center | to test | [14 empty] | 3-4-13
3-4-14 | 240 | 3mm | 4_14 | CM 9767 |  | BN | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/10 bn | yes | 797.4 | 899.6 | 6/16 jp | 6/24 bn |  |  | 3-4-14
3-4-15 | 241 | 3mm | 4_15 | CM 9635 |  | RT | √ | < 0.5 mm | ~1.5° | Small scratch on light guide | Slightly cloudy | to test |  | 11/26 fk | bn | 11/28 bn | 12/5 jp | 12/17 jp | 6/4 bn | yes | 798.35 | 899.8 | 6/16 jp | 6/24 rt |  |  | 3-4-15
3-4-16 | 246 | 3mm | 4_16 | CM 9828 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/6 bn | yes | 797.8 | 900 | 6/16 jp | 6/24 ns |  |  | 3-4-16
3-4-17 | 234 | 3mm | 4_17 | CM 9824 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/6 bn | yes | 797.55 | 899.8 | 6/16 jp | 6/24 bn |  |  | 3-4-17
3-4-18 | 247 | 3mm | 4_18 | CM 9745 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/9 bn | yes | 797.85 | 899.6 | 6/16 jp | 6/24 bn |  |  | 3-4-18
4-5-1 |  | 4mm | 5_1 | CM 9818 | Working fine |  |  | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/11 bn | yes | 798.6 | 899.6 | 6/16 jp |  |  |  | 4-5-1
4-5-2 | 191 | 4mm | 5_2 | CM 9245 |  | 6-24/FK | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/6 bn | yes | 799.05 | 899.8 | 6/16 jp | 6/24 fk |  |  | 4-5-2
4-5-3 | 201 | 4mm | 5_3 | CM 9817 |  | 6-24/FK | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/3 bn | yes | 798.45 | 899.6 | 6/16 jp | 6/24 fk |  |  | 4-5-3
4-5-4 | 195 | 4mm | 5_4 | CM 9802 |  | 6-24/FK | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/10 bn | yes | 799.95 | 899.6 | 6/16 jp | 6/24 fk |  |  | 4-5-4
4-5-5 |  | 4mm | 5_5 | no label 3 |  |  |  | < 0.5 mm | <1° | Tiny chip in scintilator corner | Good | polish | 11/26 fk - redo | [13 empty] | 4-5-5
4-5-6 | 197 | 4mm | 5_6 | CM 9768 |  | 6-24/FK | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/3 bn | yes | 798.3 | 900 | 6/16 jp | 6/24 fk |  |  | 4-5-6
4-5-7 |  | 4mm | 5_7 |  |  |  |  | < 0.5 mm | <1° | Good | Slightly cloudy | to test | [14 empty] | 4-5-7
4-5-8 | 183 | 4mm | 5_8 | CM 9811 |  | 6-24/FK | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/3 bn | yes | 798.2 | 900 | 6/16 jp | 6/24 fk |  |  | 4-5-8
4-5-9 |  | 4mm | 5_9 | CM 9832 | working fine |  |  | < 0.5 mm | <1° | Little scratch on the light guide | Good | to test | [6 empty] | 4/22 bn | yes | 791.6 | 900 | 6/16 jp |  |  |  | 4-5-9
4-5-10 | 198 | 4mm | 5_10 | CM 9812 |  | 6-24/FK | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/5 bn | yes | 798.35 | 899.8 | 6/16 jp | 6/24 fk |  |  | 4-5-10
4-5-11 | 189 | 4mm | 5_11 | CM 9838 |  | 6-24/FK | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/3 bn | yes | 798.65 | 899.8 | 6/16 jp | 6/24 fk |  |  | 4-5-11
4-5-12 | 204 | 4mm | 5_12 | no label 6 |  | 6-24/FK | √ | < 0.5 mm | <1° | Tiny chip in scintilator corner | Good | good | [6 empty] | 4/22 bn | yes | 799.8 | 899.6 | 6/16 jp | 6/24 fk |  |  | 4-5-12
4-5-13 | 187 | 4mm | 5_13 | CM 9939 |  | 6-24/FK | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/3 bn | yes | 799.35 | 899.6 | 6/16 jp | 6/24 fk |  |  | 4-5-13
4-5-14 |  | 4mm | 5_14 |  |  |  |  | < 0.5 mm | <1° | Good | Small spot seen | good | [14 empty] | 4-5-14
4-5-15 | 193 | 4mm | 5_15 | no label 8 |  | 6-24/FK | √ | < 0.5 mm | <1° | Tiny chip in scintilator corner | Good | good |  | 12/3 fk | bn | 12/4 bn | 12/5 jp | 12/17 jp | 6/4 bn | yes | 800 | 899.6 | 6/16 jp | 6/24 fk |  |  | 4-5-15
4-6-1 | 207 | 4mm | 6_1 | CM 9764 |  | 6-24/BN | √(RT) | 0.068 mm | 0.013° | Good | Good | good | [6 empty] | 6/11 bn | yes | 799.3 | 900 | 6/16 jp | 6/24 bn |  |  | 4-6-1
4-6-2 |  | 4mm | 6_2 | CM 9710 | working fine |  |  | 0.129 mm | 0.144° | Good | Messy glue | to test | [6 empty] | 6/12 bn | yes | 798.25 | 900 | 6/16 jp |  |  |  | 4-6-2
4-6-3 |  | 4mm | 6_3 | CM 9636 | working fine |  |  | 0.621 mm | 0.107° | Good | Good | good | [6 empty] | 6/11 bn | yes | 798.7 | 899.8 | 6/16 jp |  |  |  | 4-6-3
4-6-4 | 185 | 4mm | 6_4 | CM 9762 | glue problem | 6-24/FK |  | < 0.5 mm | <1° | Good | Small clouds | to test | [6 empty] | 6/4 bn | yes | 797.4 | 900 | 6/16 jp | 6/24 fk |  |  | 4-6-4
4-6-5 | 194 | 4mm | 6_5 | CM 9813 |  | 6-24/FK | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/10 bn | yes | 797.5 | 899.8 | 6/16 jp | 6/24 fk |  |  | 4-6-5
4-6-6 |  | 4mm | 6_6 | CN 6899 | working fine |  |  | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/11 bn | yes | 798.9 | 900 | 6/16 jp |  |  |  | 4-6-6
4-6-7 |  | 4mm | 6_7 | CM 9744 | cable problem,Counting fast |  |  | < 0.5 mm | <1° | Dirty | Good | polish | [6 empty] | 6/2 jp | yes | 796.15 | 900 | 6/16 jp |  |  |  | 4-6-7
4-6-8 |  | 4mm | 6_8 | CM 9629 | working fine |  |  | < 0.5 mm | <1° | Dirty | Good | polish | [6 empty] | 6/2 jp | yes | 797.45 | 899.8 | 6/16 jp |  |  |  | 4-6-8
4-6-9 |  | 4mm | 6_9 |  |  |  |  | < 0.5 mm | <1° | Dirty | Good | polish | [14 empty] | 4-6-9
4-6-10 | 196 | 4mm | 6_10 | CM 9750 |  | 6-24/FK | √ | < 0.5 mm | <1° | Dirty | Good | polish | [6 empty] | 6/10 bn | yes | 799.05 | 900 | 6/16 jp | 6/24 fk |  |  | 4-6-10
4-6-11 |  | 4mm | 6_11 | CM 9765 | working fine |  |  | < 0.5 mm | <1° | Dirty | Good | polish | [6 empty] | 6/12 bn | yes | 798.7 | 899.6 | 6/16 jp |  |  |  | 4-6-11
4-6-12 | 206 | 4mm | 6_12 | CM 9763 | working fine | 6-24/BN |  | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/12 bn | yes | 798.85 | 899.8 | 6/16 jp | 6/24 bn |  |  | 4-6-12
4-6-13 | 205 | 4mm | 6_13 | CM 9694 |  | 6-24/FK | √(RT) | < 0.5 mm | <1° | Good | Cloudy | bad | [6 empty] | 4/22 bn | yes | 798.7 | 899.7 | 6/16 jp | 6/24 fk |  |  | 4-6-13
4-6-14 |  | 4mm | 6_14 | CM 9794 | Working fine |  |  | < 0.5 mm | <1° | Good | Bubble | to test | [6 empty] | 6/12 bn | yes | 796.6 | 900 | 6/16 jp |  |  |  | 4-6-14
4-6-15 | 203 | 4mm | 6_15 | CM 9804 |  | 6-24/FK | √ | < 0.5 mm | <1° | Dirty | Good | polish | [6 empty] | 6/2 jp | yes | 798.5 | 899.8 | 6/16 jp | 6/24 fk |  |  | 4-6-15
4-6-16 | 202 | 4mm | 6_16 | CN 6898 |  | 6-24/FK | √ | < 0.5 mm | <1° | Dirty | Good | polish | [6 empty] | 6/10 bn | yes | 799 | 899.6 | 6/16 jp | 6/24 fk |  |  | 4-6-16
4-7-1 |  | 4mm | 7_1 | CM 9634 |  |  | √ | < 0.5 mm | <1° | Good | Small bubble seen | good | [14 empty] | 4-7-1
4-7-2 | 199 | 4mm | 7_2 | CM 9626 |  | 6-24/FK | √ | < 0.5 mm | <1° | Good | Many small bubbles in corner | to test | [6 empty] | 6/9 bn | yes | 798.2 | 900 | 6/16 jp | 6/24 fk |  |  | 4-7-2
4-7-3 |  | 4mm | 7_3 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 4-7-3
4-7-4 |  | 4mm | 7_4 |  |  |  |  | < 0.5 mm | <1° | Good | Tiny bubble near edge | good | [14 empty] | 4-7-4
4-7-5 |  | 4mm | 7_5 |  |  |  |  | < 0.5 mm | <1° | Good | Very tiny bubble in center | good | [14 empty] | 4-7-5
4-7-6 | 200 | 4mm | 7_6 | no label 9 | working fine | 6-24/FK |  | < 0.5 mm | <1° | Dirty | Cloudy | bad |  | 12/3 fk | bn | 12/4 bn | 12/10 jp | 12/17 bn | 6/10 bn | yes | 799.6 | 899.6 | 6/16 jp | 6/24 fk |  |  | 4-7-6
4-7-7 |  | 4mm | 7_7 |  |  |  |  | < 0.5 mm | <1° | Dirty | Tiny bubbles seen | good | [14 empty] | 4-7-7
4-7-8 |  | 4mm | 7_8 |  |  |  |  | < 0.5 mm | <1° | Discoloration at tip | Good | polish | [14 empty] | 4-7-8
4-7-9 |  | 4mm | 7_9 |  |  |  |  | < 0.5 mm | <1° | Small scratch on light guide | Good | to test | [14 empty] | 4-7-9
4-7-10 |  | 4mm | 7_10 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 4-7-10
4-7-11 |  | 4mm | 7_11 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 4-7-11
4-7-12 |  | 4mm | 7_12 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 4-7-12
4-7-13 |  | 4mm | 7_13 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 4-7-13
4-7-14 |  | 4mm | 7_14 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 4-7-14
4-7-15 |  | 4mm | 7_15 |  |  |  |  | < 0.5 mm | <1° | Dirty | Good | polish | [14 empty] | 4-7-15
4-7-16 |  | 4mm | 7_16 |  |  |  |  | < 0.5 mm | <1° | Dirty | Good | polish | [14 empty] | 4-7-16
5-8-1 | 126 | 5mm | 8_1 | CM 9760 |  | 6-24/NS | √ | 0.043 mm | 0.204° | Good | Good | good | [6 empty] | 6/6 bn | yes | 798.2 | 899.8 | 6/16 jp | 6/24 ns |  |  | 5-8-1
5-8-2 |  | 5mm | 8_2 | CM 9754 |  |  | √ | 0.067 mm | 0.119° | Good | Small bubbles | to test | [6 empty] | 5/29 jp | yes | 799.2 | 899.6 | 6/16 jp |  |  |  | 5-8-2
5-8-3 | 85 | 5mm | 8_3 | CM 9643 |  | 6-24/RT | √ | 0.128 mm | 0.027° | Good | Small bubbles | to test | [6 empty] | 5/29 bn | yes | 797.25 | 899.6 | 6/16 jp | 6/24 rt |  |  | 5-8-3
5-8-4 |  | 5mm | 8_4 | CM 9879 |  |  |  | < 0.5 mm | <1° | Good | Cloudy | to test |  | 12/3 fk | bn | 12/4 bn | 12/12 jp | 12/16 jp | 5/15 bn | yes | 799 | 899.8 | 6/16 jp |  |  |  | 5-8-4
5-8-5 | 103 | 5mm | 8_5 | CM 9776 | to pull | 6-24/NS | soldier | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/11 bn | yes | 799.9 | 899.6 | 6/16 jp | 6/24 ns |  |  | 5-8-5
5-8-6 | 84 | 5mm | 8_6 | CM 9862 |  | 6-24/RT |  | < 0.5 mm | <1° | Good | Tiny bubbles | good |  | 4/24 fk | bn | 4/25 bn | 4/28 bn |  | 6/5 bn | yes | 799.5 | 899.8 | 6/16 jp | 6/24 rt |  |  | 5-8-6
5-8-7 | 114 | 5mm | 8_7 | CM 9778 |  | 6-24/NS | √ | < 0.5 mm | <1° | Dirty | Good | polish |  | 4/24 fk | bn | 4/25 bn | 4/28 bn |  | 6/5 bn | yes | 799.15 | 899.8 | 6/16 jp | 6/24 ns |  |  | 5-8-7
5-8-8 | 89 | 5mm | 8_8 | CM 9863 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Cloudy | to test |  | 4/24 fk | bn | 4/25 bn | 4/28 bn |  | 6/5 bn | yes | 797.65 | 900 | 6/16 jp | 6/24 bn |  |  | 5-8-8
5-8-9 | 120 | 5mm | 8_9 | CM 9905 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/10 bn | yes | 798.45 | 900 | 6/16 jp | 6/24 ns |  |  | 5-8-9
5-8-10 | 122 | 5mm | 8_10 | CM 9787 | to pull | 6-24/NS | soldier | < 0.5 mm | <1° | Dirty | Good | polish |  | 4/24 fk | bn | 4/25 bn | 4/28 bn |  | 6/5 bn | yes | 797.55 | 900 | 6/16 jp | 6/24 ns |  |  | 5-8-10
5-8-11 | 123 | 5mm | 8_11 | CM 9829 | to pull | 6-24/NS | soldier | < 0.5 mm | <1° | Good | Tiny bubbles near center | to test | [6 empty] | 6/6 bn | yes | 799.2 | 899.8 | 6/16 jp | 6/24 ns |  |  | 5-8-11
5-8-12 | 90 | 5mm | 8_12 | CM 9775 |  | 6-24/RT | √ | < 0.5 mm | <1° | Dirty | Good | polish | [6 empty] | 6/11 bn | yes | 796.8 | 900 | 6/16 jp | 6/24 rt |  |  | 5-8-12
5-8-13 |  | 5mm | 8_13 |  |  |  |  | < 0.5 mm | <1° | Dirty | Good | polish | [6 empty] | 5/29 jp | yes | 798.5 | 899.8 |  |  |  |  | 5-8-13
5-9-1 | 87 | 5mm | 9_1 | CM 9748 |  | 6-24/RT | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/5 bn | yes | 797.1 | 900 | 6/16 jp | 6/24 rt |  |  | 5-9-1
5-9-2 | 117 | 5mm | 9_2 | CM 9749 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Little bubble on side | to test | [6 empty] | 6/9 bn | yes | 796.65 | 900 | 6/16 jp | 6/24 ns |  |  | 5-9-2
5-9-3 | 111 | 5mm | 9_3 | CM 9674 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 6/5 bn | yes | 798.5 | 900 | 6/16 jp | 6/24 ns |  |  | 5-9-3
5-9-4 | 100 | 5mm | 9_4 | CM 9352 | working fine | RT |  | < 0.5 mm | <1° | Dirty | Cloudy | to test |  | 3/26 fk | jp | 3/27 jp | 3/31 jp |  | 5/22 jp | yes | 797.3 | 899.8 | 6/16 jp | 6/24 rt |  |  | 5-9-4
5-9-5 | 93 | 5mm | 9_5 | CM 9259 |  | 6-24/RT | √ | < 0.5 mm | <1° | Good | Tiny bubble | good |  | 3/25 fk | jp | 3/26 jp | 3/31 jp |  | 5/19 bn | yes | 797.35 | 900 | 6/16 jp | 6/24 rt |  |  | 5-9-5
5-9-6 | 108 | 5mm | 9_6 | CM 9252 |  | RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 3/25 fk | jp | 3/26 jp | 3/31 jp |  | 5/7 bn | yes | 797.45 | 899.6 | 6/16 jp | 6/24 rt |  |  | 5-9-6
5-9-7 | 96 | 5mm | 9_7 | CM 9502 |  | 6-24/RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 3/26 fk | jp | 3/27 jp | 3/31 jp |  | 5/27 bn | yes | 798.05 | 899.8 | 6/16 jp | 6/24 rt |  |  | 5-9-7
5-9-8 | 112 | 5mm | 9_8 | CM 9255 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Good | good |  | 3/25 fk | jp | 3/26 jp | 3/31 jp |  | 5/27 bn | yes | 797.45 | 900 | 6/16 jp | 6/24 ns |  |  | 5-9-8
5-9-9 | 118 | 5mm | 9_9 | CM 9253 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Good | good |  | 3/25 fk | jp | 3/26 jp | 3/31 jp |  | 5/7 bn | yes | 797.3 | 900 | 6/16 jp | 6/24 ns |  |  | 5-9-9
5-9-10 | 101 | 5mm | 9_10 | no label 7 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Cloudy | to test |  | 12/3 fk | bn | 12/5 bn | 12/12 jp | 1/8 jp | 5/19 bn | yes | 797.55 | 899.8 | 6/16 jp | 6/24 rt |  |  | 5-9-10
5-9-11 | 98 | 5mm | 9_11 | CM 9352 | working fine | 6-24/RT |  | < 0.5 mm | <1° | Good | Small bubbles | to test | [6 empty] | 6/11 bn | yes | 798.5 | 900 | 6/16 jp | 6/24 rt |  |  | 5-9-11
5-9-12 | 128 | 5mm | 9_12 | CM 9661 |  | 6-24/NS |  | < 0.5 mm | ~1.5° | Dirty | Cloudy | bad | [6 empty] | 6/5 bn | yes | 798.55 | 899.8 | 6/16 jp | 6/24 ns |  |  | 5-9-12
5-9-13 | 92 | 5mm | 9_13 | CM 9456 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 3/25 fk | jp | 3/26 jp | 4/1 jp | 4/16 jp | 6/5 bn | yes | 798.25 | 899.6 | 6/16 jp | 6/24 bn |  |  | 5-9-13
5-9-14 |  | 5mm | 9_14 | CM 9555 |  |  |  | < 0.5 mm | <1° | Good | Small bubble on side | to test | [14 empty] | 5-9-14
5-9-15 |  | 5mm | 9_15 |  |  |  |  | < 0.5 mm | <1° | Good | Cloudy | to test | [14 empty] | 5-9-15
5-9-16 | 83 | 5mm | 9_16 | CM 9493 | working fine |  |  | < 0.5 mm | <1° | Good | Good | good |  | 3/26 fk | jp | 3/27 jp | 4/1 jp | 4/16 jp | 5/21 jp | yes | 804.2 | 900.2 | 6/16 jp | 6/24 ns |  |  | 5-9-16
5-9-17 | 104 | 5mm | 9_17 | CM 9501 |  | 6-24/RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 3/26 fk | jp | 3/27 jp | 4/1 jp | 4/16 jp | 5/27 np | yes | 799 | 899.8 | 6/16 jp | 6/24 rt |  |  | 5-9-17
5-9-18 | 125 | 5mm | 9_18 | CM 9353 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Tiny bubbles seen | good |  | 3/26 fk | jp | 3/27 jp | 4/1 jp | 4/16 jp | 5/12 bn | yes | 798.5 | 899.8 | 6/16 jp | 6/24 ns |  |  | 5-9-18
5-10-1 |  | 5mm | 10_1 |  |  |  |  | < 0.5 mm | <1° | Good | Cloudy | to test | [14 empty] | 5-10-1
5-10-2 | 105 | 5mm | 10_2 | CM 9897 |  | RT |  | < 0.5 mm | <1° | Good | Small bubble in corner | to test |  | 2/6 fk | jp | 2/10 jp | 2/12 jp | 2/27 jp | 5/22 jp | yes | 796.85 | 900.4 | 6/16 jp | 6/24 rt |  |  | 5-10-2
5-10-3 | 115 | 5mm | 10_3 | CM 9231 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Bubbles | to test |  | 2/6 fk | jp | 2/10 jp | 2/12 jp | 2/27 jp | 5/22 jp | yes | 795.6 | 899.8 | 6/16 jp | 6/24 ns |  |  | 5-10-3
5-10-4 | 107 | 5mm | 10_4 | CM 9901 |  | 6-24/RT | √ | < 0.5 mm | <1° | Good | Cloudy | to test |  | 2/6 fk | jp | 2/10 jp | 2/12 jp | 2/27 jp | 5/7 bn | yes | 799.05 | 900 | 6/16 jp | 6/24 rt |  |  | 5-10-4
5-10-5 |  | 5mm | 10_5 | CM 9928 |  |  |  | < 0.5 mm | <1° | Good | Good | good |  | 2/11 fk | jp | 2/12 jp | 2/13 jp | 3/5 jp | [8 empty] | 5-10-5
5-10-6 |  | 5mm | 10_6 | CM 9887 |  |  |  | < 0.5 mm | <1° | Good | Small bubble on side | to test |  | 2/18 fk | jp | 2/19 jp | 2/20 jp | 2/27 jp | [8 empty] | 5-10-6
5-10-7 |  | 5mm | 10_7 | CM 9946 | Cable 2 problem |  |  | < 0.5 mm | <1° | Good | Tiny bubbles near corner | good |  | 2/6 fk | jp | 2/10 jp | 2/12 jp | 3/5 jp | 5/14 bn | yes | 797.35 | 900 | 6/16 jp |  |  |  | 5-10-7
5-10-8 | 116 | 5mm | 10_8 | CM 9935 |  |  | √ | < 0.5 mm | <1° | Good | Good | good |  | 2/6 fk | jp | 2/10 jp | 2/13 jp | 3/5 jp | 5/27 bn | yes | 796.95 | 899.6 | 6/16 jp | 6/24 ns |  |  | 5-10-8
5-10-9 | 121 | 5mm | 10_9 | CM 9389 |  | 6-24/NS |  | < 0.5 mm | <1° | Good | Bubbles | to test |  | 2/11 fk | jp | 2/12 jp | 2/13 jp | 3/5 jp | 5/8 bn | yes | 799.05 | 900 | 6/16 jp | 6/24 ns |  |  | 5-10-9
5-10-10 | 113 | 5mm | 10_10 | CM 9908 |  | RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 2/11 fk | jp | 2/12 jp | 2/13 jp | 3/19 jp | 5/12 bn | yes | 798.7 | 900 | 6/16 jp | 6/24 rt |  |  | 5-10-10
5-10-11 |  | 5mm | 10_11 |  |  |  |  | < 0.5 mm | <1° | Good | Cloudy | to test | [14 empty] | 5-10-11
5-10-12 | 88 | 5mm | 10_12 | CM 9915 |  | RT |  | < 0.5 mm | <1° | Good | Good | good |  | 2/6 fk | jp | 2/10 jp | 2/12 jp | 3/19 jp | 6/2 jp | yes | 798 | 899.6 | 6/16 jp | 6/24 rt |  |  | 5-10-12
5-10-13 | 109 | 5mm | 10_13 | CM 9909 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Good | good |  | 2/18 fk | jp | 2/20 jp | 2/12 jp | 3/20 jp | 5/29 bn | yes | 798 | 899.8 | 6/16 jp | 6/24 ns |  |  | 5-10-13
5-10-14 |  | 5mm | 10_14 | CM 9391 |  |  |  | < 0.5 mm | <1° | Good | Good | good |  | 2/11 fk | jp | 2/13 jp | 2/13 jp | 3/20 jp | [8 empty] | 5-10-14
5-10-15 | 129 | 5mm | 10_15 | CM 9371 |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Cloudy | to test |  | 2/18 fk | jp | 2/19 jp | 2/24 jp | 3/19 jp | 6/3 bn | yes | 797.4 | 900 | 6/16 jp | 6/24 ns |  |  | 5-10-15
5-10-16 | 94 | 5mm | 10_16 | CM 9886 |  | RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 2/11 fk | jp | 2/13 jp | 2/24 jp | 3/20 jp | 5/28 bn | yes | 797.95 | 900 | 6/16 jp | 6/24 rt |  |  | 5-10-16
5-10-17 | 95 | 5mm | 10_17 | CM 9889 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 2/18 fk | jp | 2/19 jp | 2/24 jp | 3/17 jp | 6/3 bn | yes | 799.25 | 899.6 | 6/16 jp | 6/24 bn |  |  | 5-10-17
5-10-18 | 97 | 5mm | 10_18 | CM 9892 | working fine | RT |  | < 0.5 mm | <1° | Good | Good | good |  | 2/11 fk | jp | 2/13 jp | 2/24 jp | 3/17 jp | 5/7 bn | yes | 796.4 | 900 | 6/16 jp | 6/24 rt |  |  | 5-10-18
5-11-1 | 131 | 5mm | 11_1 |  |  | 6-24/NS | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 5/27 bn | yes | 797.65 | 900.2 | 6/16 jp | 6/24 ns |  |  | 5-11-1
5-11-2 | 124 | 5mm | 11_2 | CM 9952 | working fine | 6-24/NS |  | < 0.5 mm | <1° | Good | Good | good |  | 2/24 fk | jp | 2/25 jp | 3/3 jp | 3/17 jp | 5/7 bn | yes | 797.8 | 900 | 6/16 jp | 6/24 ns |  |  | 5-11-2
5-11-3 | 127 | 5mm | 11_3 | CM 9948 | working fine | 6-24/NS |  | < 0.5 mm | <1° | Good | Small bubbles | to test |  | 2/24 fk? |  |  |  |  | 5/21 jp | yes | 800.4 | 899.8 | 6/16 jp | 6/24 ns |  |  | 5-11-3
5-11-4 | 119 | 5mm | 11_4 | CM 9960 |  | RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/9 fk | bn | 1/10 bn | 1/15 jp | 1/24 bn | 5/7 bn | yes | 799.05 | 900 | 6/16 jp | 6/24 rt |  |  | 5-11-4
5-11-5 | 130 | 5mm | 11_5 | CM 9950 | bad glue | 6-24/NS |  | < 0.5 mm | <1° | Good | Good | good |  | 1/9 fk | bn | 1/10 bn | 1/15 jp | 1/24 bn | 5/12 bn | yes | 799.2 | 900 | 6/16 jp | 6/24 ns |  |  | 5-11-5
5-11-6 |  | 5mm | 11_6 | CM 9457 |  |  |  | < 0.5 mm | <1° | Good | Good | good |  | 2/24 fk | jp | 2/25 jp | 3/3 jp | 3/24 jp | 5/14 bn | yes | 799.4 | 900 | 6/16 jp |  |  |  | 5-11-6
5-11-7 | 110 | 5mm | 11_7 | CM 9914 |  | RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/9 fk | bn | 1/10 bn | 1/15 jp | 1/24 bn | 5/29 jp | yes | 798.75 | 899.6 | 6/16 jp | 6/24 rt |  |  | 5-11-7
5-11-8 | 91 | 5mm | 11_8 | CM 9385 | working fine |  |  | < 0.5 mm | <1° | Good | Good | good |  | 2/24 fk | jp | 2/26 jp | 3/3 jp | 3/24 jp | 5/28 bn | yes | 799.95 | 900 | 6/16 jp | 6/24 ns |  |  | 5-11-8
5-11-9 | 102 | 5mm | 11_9 | CM 9463 |  | RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 2/24 fk | jp | 2/25 jp | 3/3 jp | 3/24 jp | 5/28 jp | yes | 798.95 | 899.8 | 6/16 jp | 6/24 rt |  |  | 5-11-9
5-11-10 | 99 | 5mm | 11_10 | CM 9464 | working fine | RT |  | < 0.5 mm | <1° | Good | Good | good |  | 2/24 fk | jp | 2/25 jp | 3/3 jp | 3/24 jp | 6/2 jp | yes | 798.15 | 900 | 6/16 jp | 6/24 rt |  |  | 5-11-10
5-11-11 | 85 | 5mm | 11_11 |  |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good | [6 empty] | 5/27 bn | yes | 797.25 | 900 | 6/16 jp | 6/24 bn |  |  | 5-11-11
5-11-12 |  | 5mm | 11_12 |  |  |  |  | < 0.5 mm | <1° | Dirty | Good | polish | [14 empty] | 5-11-12
5-11-13 | 106 | 5mm | 11_13 | CM 9922 | to pull | 6-24/NS |  | < 0.5 mm | <1° | Good | Good | good |  | 1/9 fk | bn | 1/13 bn | 1/15 jp | 1/24 bn | 5/8 bn | yes | 800.15 | 899.6 | 6/16 jp | 6/24 ns |  |  | 5-11-13
8-12-1 | 65 | 8mm | 12_1 | CM 9878 |  | 6-24/RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/14 fk | fk | 1/16 bn | 1/20 jp | 1/24 bn | 5/15 bn | yes | 798.05 | 900 | 6/16 jp | 6/24 rt |  |  | 8-12-1
8-12-2 | 67 | 8mm | 12_2 | CM 9875 |  | 6-24/RT | √ | < 0.5 mm | <1° | Dirty | Good | polish |  | 1/14 fk | fk | 1/16 bn | 1/20 jp | 1/24 bn | 6/4 bn | yes | 799 | 899.6 | 6/16 jp | 6/24 rt |  |  | 8-12-2
8-12-3 | 72 | 8mm | 12_3 | CM 9870 |  | 6-24/FK | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/14 fk | fk | 1/16 bn | 1/20 jp | 1/23 jp | 5/14 bn | yes | 799.3 | 899.8 | 6/16 jp | 6/24 fk |  |  | 8-12-3
8-12-4 | 69 | 8mm | 12_4 | CM 9876 | working fine | 6-24/FK |  | < 0.5 mm | <1° | Dirty | Good | polish |  | 1/14 fk | fk | 1/16 bn | 1/20 jp | 1/23 jp | 5/7 bn | yes | 798.9 | 899.8 | 6/16 jp | 6/24 fk |  |  | 8-12-4
8-12-5 |  | 8mm | 12_5 | CM 9921 |  |  |  | < 0.5 mm | <1° | Good | Good | good |  | 1/16 fk | bn | 1/17 bn | 1/20 jp | 1/23 jp | [8 empty] | 8-12-5
8-12-6 | 71 | 8mm | 12_6 | CM 9918 |  | 6-24/RT | √ | < 0.5 mm | <1° | Good | Tiny bubbles | to test |  | 1/16 fk | bn | 1/17 bn | 1/20 jp | 1/23 jp | 4/24 bn | yes | 798.85 | 900.2 | 6/16 jp | 6/24 rt |  |  | 8-12-6
8-12-7 | 73 | 8mm | 12_7 | CM 9387 |  | 6-24/RT | √ | < 0.5 mm | <1° | Dirty | Good | polish |  | 1/16 fk | bn | 1/17 bn | 1/20 jp | 1/24 bn | 4/28 bn | yes | 798.2 | 899.8 | 6/16 jp | 6/24 rt |  |  | 8-12-7
8-12-8 | 75 | 8mm | 12_8 | CM 9925 |  | 6-24/RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/16 fk | bn | 1/17 bn | 1/20 jp | 1/23 jp | 5/29 bn | yes | 798.3 | 899.8 | 6/16 jp | 6/24 rt |  |  | 8-12-8
8-12-9 | 76 | 8mm | 12_9 | CM 9930 | working fine | 6-24/RT |  | < 0.5 mm | <1° | Dirty | Good | polish |  | 1/16 fk | bn | 1/17 bn | 1/20 jp | 1/24 bn | 4/25 bn | yes | 800.45 | 899.6 | 6/16 jp | 6/24 rt |  |  | 8-12-9
8-12-10 | 78 | 8mm | 12_10 | CM 9881 |  | 6-24/RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/14 fk | fk | 1/16 bn | 1/20 jp | 1/24 bn | 5/28 bn | yes | 797.4 | 899.6 | 6/16 jp | 6/24 rt |  |  | 8-12-10
8-12-11 | 74 | 8mm | 12_11 | CM 9871 |  | 6-24/FK | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/16 fk | bn | 1/20 bn | 1/20 jp | 1/24 bn | 4/25 bn | yes | 796.75 | 900 | 6/16 jp | 6/24 fk |  |  | 8-12-11
8-12-12 | 80 | 8mm | 12_12 | CM 9877 |  | 6-24/RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/14 fk | fk | 1/17 bn | 1/20 jp | 1/23 bn | 5/22 jp | yes | 798.1 | 900.2 | 6/16 jp | 6/24 rt |  |  | 8-12-12
8-13-1 | 77 | 8mm | 13_1 | CM 9381 |  | 6-24/RT | √ | 0.112 mm | 0.038° | Good | Good | good |  | 1/28 fk | bn | 1/30 jp | 2/5 jp | 2/19 jp | 4/23 bn | yes | 798.6 | 900 | 6/16 jp | 6/24rt |  |  | 8-13-1
8-13-2 | 79 | 8mm | 13_2 | CM 9445 |  | 6-24/RT | √ | 0.025 mm | 0.065° | Good | Good | good |  | 1/28 fk | bn | 1/30 bn | 2/5 jp | 2/19 jp | 5/29 jp | yes | 799.2 | 899.6 | 6/16 jp | 6/24 rt |  |  | 8-13-2
8-13-3 | 68 | 8mm | 13_3 | CM 9938 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/30 fk | jp | 2/4 jp | 2/5 jp | 2/26 jp | 4/23 bn | yes | 799 | 900 | 6/16 jp | 6/24 bn |  |  | 8-13-3
8-13-4 | 70 | 8mm | 13_4 | CM 9250 |  | 6-24/FK | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/28 fk | bn | 1/30 bn | 2/5 jp | 2/26 jp | 5/12 bn | yes | 798.95 | 899.8 | 6/16 jp | 6/24 fk |  |  | 8-13-4
8-13-5 | 81 | 8mm | 13_5 | CM 9446 |  | 6-24/RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/28 fk | bn | 1/30 bn | 2/5 jp | 2/26 jp | 4/23 bn | yes | 797.7 | 899.5 | 6/16 jp | 6/24 rt |  |  | 8-13-5
8-13-6 |  | 8mm | 13_6 | CM 9791 |  |  |  | < 0.5 mm | <1° | Good | Cloudy | to test |  | 12/3 fk | bn | 12/12 bn | 1/6 jp | 1/23 bn | 6/9 bn | yes | 797.45 | 900 | 6/16 jp |  |  |  | 8-13-6
8-13-7 |  | 8mm | 13_7 | CM 9441 |  |  |  | < 0.5 mm | <1° | Good | Good | good |  | 1/28 fk | bn | 1/30 jp | 2/5 jp | 2/19 jp | 4/25 bn | yes | 798.1 | 899.8 | 6/16 jp |  |  |  | 8-13-7
8-13-8 |  | 8mm | 13_8 | no label 2 |  |  |  | < 0.5 mm | <1° | Dirty | Good | polish |  | 12/17 fk | bn | 1/6 bn | 1/9 jp | 1/23 bn | [8 empty] | 8-13-8
8-13-9 |  | 8mm | 13_9 |  |  |  |  | < 0.5 mm | <1° | Good | Cloudy | to test | [14 empty] | 8-13-9
8-13-10 | 66 | 8mm | 13_10 | CM 9444 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/28 fk | bn | 2/4 jp | 2/5 jp | 3/24 jp | 4/24 bn | yes | 799.65 | 900 | 6/16 jp | 6/24 bn |  |  | 8-13-10
10-14-1 |  | 10mm | 14_1 |  |  |  |  | 0.240 mm | 0.533° | Good | Good | good | [14 empty] | 10-14-1
10-14-2 | 53 | 10mm | 14_2 | CM 9807 |  | 6-23/NS | √ | 0.203 mm | 0.316° | Good | Lots of small bubbles | to test | [6 empty] | 6/2 jp | yes | 796.75 | 899.6 | 6/16 jp | 6/23 ns |  |  | 10-14-2
10-14-3 | 60 | 10mm | 14_3 | CM 9234 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/30 fk | jp | 2/4 jp | 2/5 jp | 2/25 jp | 4/22 bn | yes | 797.55 | 899.6 | 6/16 jp | 6/24 bn |  |  | 10-14-3
10-14-4 | 56 | 10mm | 14_4 | CM 9890 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/13 fk | bn | 1/16 bn | 1/20 jp | 1/24 bn | 4/28 bn | yes | 796.55 | 900 | 6/16 jp | 6/24 bn |  |  | 10-14-4
10-14-5 | 56 | 10mm | 14_5 | CM 9236 | working fine | 6-24/RT |  | < 0.5 mm | <1° | Dirty | Good | polish |  | 1/30 fk | jp | 2/4 jp | 2/5 jp | 2/25 jp | 5/14 bn | yes | 798.25 | 899.8 | 6/16 jp | 6/24 rt |  |  | 10-14-5
10-14-6 |  | 10mm | 14_6 | CM 9639 |  |  |  | < 0.5 mm | <1° | Good | Good | good |  | 12/17 fk | JP | 1/7 jp | 1/20 jp | 1/28 bn | [8 empty] | 10-14-6
10-14-7 | 57 | 10mm | 14_7 | CM 9594 |  | 6-23/RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 12/17 fk | jp | 1/7 jp | 1/20 jp | 1/28 bn | 6/4 bn | yes | 798.2 | 899.6 | 6/16 jp | 6/23 rt |  |  | 10-14-7
10-14-8 | 52 | 10mm | 14_8 | CM 9392 | to pull | 6-24/BN |  | < 0.5 mm | <1° | Good | Good | good |  | 1/13 fk | bn | 1/16 bn | 1/20 jp | 1/28 bn | 5/21 jp | yes | 800.05 | 900.2 | 6/16 jp | 6/24 bn |  |  | 10-14-8
10-14-9 | 62 | 10mm | 14_9 | CM 9941 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/30 fk | jp | 2/6 jp | 2/11 jp | 2/24 jp | 4/23 bn | yes | 797.5 | 900 | 6/16 jp | 6/24 bn |  |  | 10-14-9
10-14-10 | 54 | 10mm | 14_10 | CM 9936 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/30 fk | jp | 2/6 jp | 2/11 jp | 2/25 jp | 4/23 bn | yes | 798.15 | 899.52 | 6/16 jp | 6/24 bn |  |  | 10-14-10
10-14-11 | 50 | 10mm | 14_11 | CM 9372 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Tiny bubbles | good |  | 1/13 fk | bn | 1/16 bn | 1/20 jp | 1/28 bn | 4/28 bn | yes | 798.25 | 900 | 6/16 jp | 6/24 bn |  |  | 10-14-11
10-14-12 |  | 10mm | 14_12 | CM 9225 | working fine |  |  | < 0.5 mm | <1° | Good | Good | good |  | 1/30 fk | jp | 2/6 jp | 2/11 jp | 2/27 jp | 4/24 bn | yes | 798.3 | 900 | 6/16 jp |  |  |  | 10-14-12
10-14-13 | 63 | 10mm | 14_13 | CM 9743 |  | 6-23/RT |  | < 0.5 mm | <1° | Good | Cloudy | to test |  | 1/13 fk | bn | 1/17 bn | 1/21 jp | 1/28 bn | 6/6 bn | yes | 797.85 | 900 | 6/16 jp | 6/23 rt |  |  | 10-14-13
10-14-14 | 48 | 10mm | 14_14 | CM 9867 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 1/13 fk | bn | 1/17 bn | 1/21 jp | 1/24 bn | 4/28 bn | yes | 798.6 | 899 | 6/16 jp | 6/24 bn |  |  | 10-14-14
10-14-15 |  | 10mm | 14_15 | CM 9884 | working fine | 6-24/RT |  | < 0.5 mm | <1° | Good | Small bubbles | to test |  | 1/13 fk | bn | 1/16 bn | 1/20 jp | 1/24 bn | 5/7 bn | yes | 797.4 | 899.8 | 6/16 jp |  |  |  | 10-14-15
10-15-1 | 45 | 10mm | 15_1 | CM 9780 |  | 6-23/BN |  | < 0.5 mm | <1° | Good | Good | good |  | 4/24 fk | bn | 4/28 bn | 4/30 bn |  | 6/4 bn | yes | 797.45 | 900 | 6/16 jp | 6/23 bn |  |  | 10-15-1
10-15-2 | 44 | 10mm | 15_2 | CM 9782 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 4/15 fk | bn | 4/17 bn | 4/23 bn |  | 5/29 jp | yes | 797.75 | 900 | 6/16 jp | 6/24 bn |  |  | 10-15-2
10-15-3 | 64 | 10mm | 15_3 | CM 9796 |  | 6-24/BN |  | < 0.5 mm | <1° | Dirty | Good | polish |  | 4/22 fk | bn | 4/24 bn | 4/30 bn |  | 6/3 bn | yes | 798.9 | 900 | 6/16 jp | 6/24 rt |  |  | 10-15-3
10-15-4 | 41 | 10mm | 15_4 | CM 9945 |  | 6-23/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 4/22 fk | bn | 4/24 bn | 4/30 bn |  | 6/3 bn | yes | 798.95 | 899.6 | 6/16 jp | 6/23 bn |  |  | 10-15-4
10-15-5 | 42 | 10mm | 15_5 | CM 9857 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Tiny bubbles throughout | to test |  | 4/22 fk | bn | 4/24 bn | 4/30 bn |  | 6/3 bn | yes | 798.6 | 899.8 | 6/16 jp | 6/24 bn |  |  | 10-15-5
10-15-6 | 55 | 10mm | 15_6 | CM 9820 |  | 6-23/NS | √ | < 0.5 mm | <1° | Good | Tiny bubbles | good |  | 4/22 fk | bn | 4/24 bn | 4/30 bn |  | 6/3 bn | yes | 796.75 | 900 | 6/16 jp | 6/23 ns |  |  | 10-15-6
10-15-7 | 46 | 10mm | 15_7 | CM 9893 | cable problem | 6-24/BN |  | < 0.5 mm | ~1.5° | Small scratch on scintilator | Good | polish |  | 4/24 fk | bn | 4/28 bn | 4/30 bn |  | 5/20 jp | yes | 796.65 | 900.2 | 6/16 jp | 6/24 bn |  |  | 10-15-7
10-15-8 | 61 | 10mm | 15_8 | CM 9904 |  | 6-23/BN | √ | < 0.5 mm | <1° | Dirty | Good | polish |  | 4/15 fk | bn | 4/17 bn | 4/23 bn |  | 6/5 bn | yes | 797.65 | 900 | 6/16 jp | 6/23 bn |  |  | 10-15-8
10-15-9 | 47 | 10mm | 15_9 | CM 9854 |  | 6-23/NS | √ | < 0.5 mm | <1° | Dirty | Good | polish |  | 4/15 fk | bn | 4/18 bn | 4/23 bn |  | 6/3 bn | yes | 805.5 | 900 | 6/16 jp | 6/23 ns |  |  | 10-15-9
10-15-10 | 59 | 10mm | 15_10 | CM 9798 |  | 6-23/RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 4/15 fk | bn | 4/18 bn | 4/30 bn |  | 6/5 bn | yes | 798.05 | 900 | 6/16 jp | 6/23 rt |  |  | 10-15-10
10-15-11 | 49 | 10mm | 15_11 | CM 9799 | to pull | 6-23/NS | solder | < 0.5 mm | <1° | Good | Good | good |  | 4/15 fk | bn | 4/18 bn | 4/23 bn |  | 5/29 jp | yes | 796.1 | 899.8 | 6/16 jp | 6/23 ns |  |  | 10-15-11
10-15-12 | 51 | 10mm | 15_12 | CM 9795 | to pull | 6-23/NS | solder | < 0.5 mm | <1° | Good | Good | good |  | 4/22 fk | bn | 4/24 bn | 4/30 bn |  | 5/29 jp | yes | 796.1 | 899.8 | 6/16 jp | 6/23 ns |  |  | 10-15-12
10-15-13 | 58 | 10mm | 15_13 | CM 9926 |  | 6-24/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 4/22 fk | bn | 4/28 bn | 4/30 bn |  | 5/20 jp | yes | 799.45 | 899.8 | 6/16 jp | 6/24 bn |  |  | 10-15-13
10-15-14 | 43 | 10mm | 15_14 | CM 9819 |  | 6-23/RT | √ | < 0.5 mm | <1° | Good | Good | good |  | 4/22 fk | bn | 4/28 bn | 4/30 bn |  | 6/9 bn | yes | 799.85 | 899.6 | 6/16 jp | 6/23 rt |  |  | 10-15-14
16-16-1 | 28 | 16mm | 16_1 | CM 9651 |  | 6-24/BN | √(JP) | 0.112 mm | 1.086° | Good | Good | good | [6 empty] | 5/20 jp | yes | 797.9 | 899.8 | 6/16 jp | 6/24 bn |  |  | 16-16-1
16-16-2 | 34 | 16mm | 16_2 | CM 9504 |  | 6-24/JP | √(JP) | 0.191 mm | 0.096° | Good | Tiny bubbles | good |  | 4/7 fk | bn | 4/9 bn | 4/25 bn |  | 5/19 jp | yes | 797.1 | 900 | 6/16 jp | 6/24 jp |  |  | 16-16-2
16-16-3 | 33 | 16mm | 16_3 | CM 9433 |  | 6-23/BN | √ | < 0.5 mm | <1° | Scratch on the scintilator | Good | polish |  | 4/7 fk | bn | 4/9 bn | 4/25 bn |  | 5/20 jp | yes | 797.8 | 899.8 | 6/16 jp | 6/23 bn |  |  | 16-16-3
16-16-4 | 40 | 16mm | 16_4 | CM 9511 | Both cables not working | 6-24/BN |  | < 0.5 mm | <1° | Good | Good | good |  | 4/7 fk | bn | 4/9 bn | 4/25 bn |  | 5/20 jp | yes | 798.95 | 900 | 6/16 jp | 6/24 bn |  |  | 16-16-4
16-16-5 | 27 | 16mm | 16_5 | CM 9593 |  | 6-23/BN | √(RT) | < 0.5 mm | <1° | Good | Cloudy | good |  | 12/10 fk | fk | 12/16 bn | 1/8 jp |  | 5/8 bn | yes | 796.45 | 900 | 6/16 jp | 6/23 bn |  |  | 16-16-5
16-16-6 | 36 | 16mm | 16_6 | CM 9850 |  | 6-24/BN | √ | < 0.5 mm | <1° | Small chip on scintilator | Good | polish |  | 4/7 fk | bn | 4/9 bn | 4/25 bn | 4/30 jp | 5/19 bn | yes | 798.85 | 899.8 | 6/16 jp | 6/24 bn |  |  | 16-16-6
16-16-7 |  | 16mm | 16_7 |  |  |  |  | < 0.5 mm | <1° | Good | Cloudy | to test | [14 empty] | 16-16-7
16-16-8 | 30 | 16mm | 16_8 | CM 9858 |  | 6-24/JP | √(JP) | < 0.5 mm | <1° | Good | Tiny bubbles throughout | to test |  | 4/7 fk | bn | 4/16 bn | 4/30 bn |  | 5/8 bn | yes | 798.1 | 900 | 6/16 jp | 6/24 jp |  |  | 16-16-8
16-16-9 | 39 | 16mm | 16_9 | CM 9417 | TO PULL | 6-23/NS |  | < 0.5 mm | ~1.5° | Good | Large bubble seen at the corner | to test |  | 4/4 fk | fk | 4/9 bn | 4/25 bn | 5/1 bn | 5/12 bn | yes | 796.75 | 900 | 6/16 jp | 6/23 ns |  |  | 16-16-9
16-16-10 | 37 | 16mm | 16_10 | CM 9415 |  | 6-23/NS | √ | < 0.5 mm | <1° | Good | Tiny bubbles | good |  | 4/8 fk | bn | 4/16 jp | 4/30 bn |  | 5/19 jp | yes | 798.6 | 899.8 | 6/16 jp | 6/23 ns |  |  | 16-16-10
16-16-11 |  | 16mm | 16_11 | CM 9873 | Problem fixed by FK(collar) |  |  | < 0.5 mm | <1° | Good | Good | good |  | 4/7 fk | bn | 4/9 bn | 4/28 jp | 5/1 bn | 5/14 bn | yes | 798.15 | 899.6 | 6/16 jp |  |  |  | 16-16-11
16-17-1 | 24 | 16mm | 17_1 | CM 9418 |  | 6-24/JP | √(JP) | < 0.5 mm | <1° | Good | Good | good |  | 4/8 fk | bn | 4/16 jp | 4/28 jp | 4/30 jp | 5/21 jp | yes | 798.45 | 899.8 | 6/16 jp | 6/24 jp |  |  | 16-17-1
16-17-2 | 32 | 16mm | 17_2 | CM 9847 |  | 6-24/BN | √(JP) | < 0.5 mm | <1° | Dirty | Tiny bubble | polish |  | 4/8 fk | bn | 4/16 bn | 4/28 jp | 4/30 jp | 5/20 jp | yes | 799.75 | 899.8 | 6/16 jp | 6/24 bn |  |  | 16-17-2
16-17-3 | 38 | 16mm | 17_3 | CM 9437 |  | 6-24/BN | √(JP) | < 0.5 mm | <1° | Good | Tiny bubbles on edge | good |  | 4/8 fk | bn | 4/16 bn | 4/30 bn |  | 5/21 jp | yes | 796.3 | 900 | 6/16 jp | 6/24 bn |  |  | 16-17-3
16-17-4 | 23 | 16mm | 17_4 | CM 9849 |  | 6-23/RT | √(RT) | < 0.5 mm | <1° | Good | Good | good |  | 4/8 fk | bn | 4/16 bn | 4/30 bn |  | 5/21 jp | yes | 799.5 | 899.6 | 6/16 jp | 6/23 rt |  |  | 16-17-4
16-17-5 | 35 | 16mm | 17_5 | CM 9856 | Cable 2 problem | 6-23/BN |  | < 0.5 mm | <1° | Good | Small bubble on side | to test |  | 4/8 fk | bn | 4/16 jp | 4/25 bn | 4/30 jp | 5/19 bn | yes | 797.65 | 900 | 6/16 jp | 6/23 bn |  |  | 16-17-5
16-17-6 | 25 | 16mm | 17_6 | CM 9560 |  | 6-23/BN | √(RT) | < 0.5 mm | <1° | Dirty | Good | polish |  | 4/16 fk | bn | 4/21 bn | 4/29 jp | 5/1 bn | 5/21 jp | yes | 797.8 | 900 | 6/16 jp | 6/23 bn |  |  | 16-17-6
16-17-7 | 26 | 16mm | 17_7 | CM 9512 |  | 6-24/JP | √(JP) | < 0.5 mm | <1° | Good | Tiny bubbles throughout | to test |  | 4/16 fk | bn | 4/21 bn | 4/29 jp | 5/1 bn | 5/12 bn | yes | 798.25 | 900 | 6/16 jp | 6/24 jp |  |  | 16-17-7
16-17-8 |  | 16mm | 17_8 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 16-17-8
16-17-9 | 29 | 16mm | 17_9 | CM 9518 | No response from both cables | 6-23/BN |  | < 0.5 mm | <1° | Dirty | Good | polish |  | 4/16 fk | bn | 4/21 bn | 4/30 jp |  | 5/20 jp | yes | 795.9 | 899.8 | 6/16 jp | 6/23 bn |  |  | 16-17-9
16-17-10 | 31 | 16mm | 17_10 | CM 9872 |  | 6-23/BN | √ | < 0.5 mm | <1° | Good | Good | good |  | 4/16 fk | bn | 4/21 bn | 4/29 jp | 4/30 jp | 5/20 jp | yes | 799.1 | 900 | 6/16 jp | 6/23 bn |  |  | 16-17-10
16-17-11 |  | 16mm | 17_11 | CM 9509 | Working fine |  |  | < 0.5 mm | <1° | Tiny chip in scintilator corner | Good | polish |  | 4/16 fk | bn | 4/21 bn | 4/30 jp |  | 5/20 jp | yes | 799.15 | 900.2 | 6/16 jp |  |  |  | 16-17-11
21-18-1 | 20 | 21mm | 18_1 | CM 9374 |  | 6-23/FK | √(JD) | < 0.5 mm | <1° | Good | Good | good |  | 12/10 fk | bn | 12/12 bn | 1/23 jp | 2/12 jp | 6/6 bn | yes | 798.5 | 899 | 6/16 jp | 6/23 fk |  |  | 21-18-1
21-18-2 | 9 | 21mm | 18_2 | CM 9373 |  | 6-23/RT | √(RT) | < 0.5 mm | <1° | Good | Good | good |  | 12/5 fk | fk | 12/9 bn | 1/23 jp | 2/12 jp | 5/15 bn | yes | 798.1 | 900 | 6/16 jp | 6/23 rt |  |  | 21-18-2
21-18-3 | 7 | 21mm | 18_3 | CM 9378 |  | 6-23/RT |  | < 0.5 mm | <1° | Good | Good | good |  | 12/5 fk | fk | 12/9 bn | 1/23 jp | 2/12 jp | 5/14 bn | yes | 798.45 | 899.8 | 6/16 jp | 6/23 rt |  |  | 21-18-3
21-18-4 | 18 | 21mm | 18_4 | CM 7558 |  | 6-23/FK | √(JP) | < 0.5 mm | <1° | Good | Tiny bubbles | good |  | 12/10 fk | bn | 12/12 bn | 1/15 jp | 2/24 jp | 6/6 bn | yes | 797 | 900 | 6/16 jp | 6/23 fk |  |  | 21-18-4
21-18-5 | 16 | 21mm | 18_5 | CM 9382 |  | 6-23/FK | √(JP) | < 0.5 mm | <1° | Good | Good | good |  | 12/5 fk | fk | 12/10 jp | 1/20 jp | 2/12 jp | 6/6 bn | yes | 796 | 897.4 | 6/16 jp | 6/23 fk |  |  | 21-18-5
21-18-6 | 1 | 21mm | 18_6 | CM 9384 |  | 6-23/RT | √(RT) | < 0.5 mm | <1° | Good | Good | good |  | 12/5 fk | fk | 12/10 jp | 1/20 jp | 2/13 jp | 5/15 bn | yes | 798 | 899.8 | 6/16 jp | 6/23 rt |  |  | 21-18-6
21-18-7 | 12 | 21mm | 18_7 | CM 9571 |  | 6-23/FK | √(JP) | < 0.5 mm | <1° | Good | Small bubbles near corner | good |  | 12/10 fk | bn | 12/16 bn | 1/15 jp | 2/13 jp | 6/6 bn | yes | 798.4 | 897.9 | 6/16 jp | 6/23 fk |  |  | 21-18-7
21-18-8 | 6 | 21mm | 18_8 | CM 9753 |  | 6-23/FK |  | < 0.5 mm | <1° | Good | Good | good |  | 12/10 fk | bn | 12/16 bn | 1/23 jp | 2/12 jp | 5/15 bn | yes | 796.95 | 900 | 6/16 jp | 6/23 fk |  |  | 21-18-8
21-18-9 |  | 21mm | 18_9 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | 12/5 fk - redo | [13 empty] | 21-18-9
21-18-10 | 14 | 21mm | 18_10 | CM 9361 |  | 6-23/FK | √(JP) | < 0.5 mm | <1° | Good | Good | good |  | 12/5 fk | fk | 12/10 jp | 1/23 jp | 2/13 jp | 6/6 bn | yes | 797.8 | 900 | 6/16 jp | 6/23 fk |  |  | 21-18-10
21-19-1 | 21 | 21mm | 19_1 | CM 9903 |  | 6-23/RT | √(RT) | 0.124 mm | 0.087° | Good | Good | good | [6 empty] | 5/28 bn | yes | 796.7 | 900 | 6/16 jp | 6/23 rt |  |  | 21-19-1
21-19-2 | 3 | 21mm | 19_2 | CM 9317 |  | 6-23/RT | √(RT) | 0.132 mm | 0.253° | Good | Corner problem | to test |  | 4/1 fk | jp | 4/3 jp | 4/15 jp | 4/16 jp | 5/15 bn | yes | 797.2 | 899.8 | 6/16 jp | 6/23 rt |  |  | 21-19-2
21-19-3 | 11 | 21mm | 19_3 | CM 9551 |  | 6-23/RT | √(RT) | < 0.5 mm | <1° | Good | Good | good |  | 4/1 fk | jp | 4/3 jp | 4/15 jp | 4/16 jp | 5/8 bn | yes | 797.45 | 900 | 6/16 jp | 6/23 rt |  |  | 21-19-3
21-19-4 | 4 | 21mm | 19_4 | CM 9432 |  | 6-23/FK |  | < 0.5 mm | <1° | Good | Good | good |  | 4/4 fk | fk | 4/7 jp | 4/15 jp | 4/15 jp | 5/20 jp | yes | 798.6 | 900.4 | 6/16 jp | 6/23 fk |  |  | 21-19-4
21-19-5 | 13 | 21mm | 19_5 | CM 9801 | Fixed by FK(Collar) | 6-23/NS |  | < 0.5 mm | <1° | Good | Good | good |  | 4/4 fk | fk | 4/7 jp | 4/15 jp | 4/15 jp | 5/19 jp | yes | 798.55 | 899.6 | 6/16 jp | 6/23 ns |  |  | 21-19-5
21-19-6 | 19 | 21mm | 19_6 | CM 9516 | working fine | 6-23/NS |  | < 0.5 mm | <1° | Good | Good | good |  | 4/4 fk | fk | 4/7 jp | 4/15 jp | 4/16 jp | 5/19 jp | yes | 797.25 | 899.8 | 6/16 jp | 6/23 ns |  |  | 21-19-6
21-19-7 |  | 21mm | 19_7 |  |  |  |  | < 0.5 mm | <1° | Good | Good | good | [14 empty] | 21-19-7
21-19-8 | 15 | 21mm | 19_8 | CM 9855 |  | 6-23/NS | √(RT) | < 0.5 mm | <1° | Good | Good | good |  | 4/4 fk | fk | 4/8 bn | 4/16 jp | 4/17 jp | 5/12 bn | yes | 798.65 | 899.8 | 6/16 jp | 6/23 ns |  |  | 21-19-8
21-19-9 | 10 | 21mm | 19_9 | CM 9478 | working fine | 6-23/FK |  | < 0.5 mm | <1° | Good | Good | good |  | 4/1 fk | jp | 4/3 jp | 4/22 bn | 4/22 bn | 5/15 bn | yes | 798.8 | 899.8 | 6/16 jp | 6/23 fk |  |  | 21-19-9
21-19-10 | 2 | 21mm | 19_10 | CM 9302 |  | 6-23/FK |  | < 0.5 mm | <1° | Good | Good | good |  | 4/1 fk | jp | 4/3 jp | 4/22 bn | 4/22 bn | 5/8 bn | yes | 797.95 | 899.8 | 6/16 jp | 6/23 fk |  |  | 21-19-10
21-19-11 | 17 | 21mm | 19_11 | CM 9888 |  | 6-23/NS | √(RT) | < 0.5 mm | <1° | Good | Cloudy | to test |  | 4/1 fk | jp | 4/2 jp | 4/16 jp | 4/17 jp | 5/7 bn | yes | 797.55 | 899.8 | 6/16 jp | 6/23 ns |  |  | 21-19-11
21-19-12 | 5 | 21mm | 19_12 | CM 9379 |  | 6-23/NS | √(RT) | < 0.5 mm | <1° | Good | Good | good |  | 4/4 fk | fk | 4/8 bn | 4/16 jp | 4/17 jp | 5/12 bn | yes | 797.95 | 899.8 | 6/16 jp | 6/23 ns |  |  | 21-19-12
21-19-13 | 8 | 21mm | 19_13 | CM 9485 |  | 6-23/FK | √(RT) | < 0.5 mm | <1° | Good | Good | good |  | 4/1 fk | jp | 4/2 jp | 4/16 jp | 4/16 jp | 5/8 bn | yes | 799 | 899.8 | 6/16 jp | 6/23 fk |  |  | 21-19-13
rotation in slot direction
translation offset to electron axis
electron path for 8, 10, 16, 21 mm counters
electron path for 3, 4, 5 mm counters