## Slide 1: Trigger Interface and Distribution
J. William Gu
Jefferson Lab
1. What is TID
2. TID Structure and functions
3. Possible usage in the system
4. TID related boards (Mezz and FANIO)
5. Status

## Slide 2
1. What is TID
Trigger Interface (TI) + trigger Distribution (TD) = TID
TID has some Trigger Supervisor functions
TS
SD
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
V
M
E
CTP
T
ID
ADC/TDC
V
M
E
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
SD
CTP
T
ID
ADC/TDC
V
M
E
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
SD
Upto 127 front end crates

## Slide 3
2. TID Structure and functions
Optical IO
HFBR-7924
#1,#2,#3,#4,
#5,#6,#7,#8
TrgSv Rev. 2 interface
External I/O
(trg, clk…)
VMEPROM
(FPGA firmware)
Emergency/remote
re-programming
VXS P0
TD mode: from SD
TI/TS mode: to SD
VME 64x
One dedicated link for redundant data collection
Trg/Clk/Syc
outputs
On row_C
Xilinx Virtex-5
LX30T-FG665

## Slide 4
2. TID Structure and functions
P0_SD_CLK_IN
MC100LVEP111
TID_SELECT
CLK250_1
HFBR_1
CLK2AD
SyncCLK
HFBR_8
HFBR_7
HFBR_6
HFBR_5
HFBR_4
HFBR_3
HFBR_2
AD9510
ON_NB4N840
& SY55857
CLK250_2
CLK125
ASEL[1:0]
BSEL[1:0]
P0_CLKA
P0_CLKB
P0_CLKC
P0_CLKD
MC100EP57
CLK2_in
CLK2AD
External_In
CLK_OSC
SUBSYS_CLK
TS_CLK
CLKFPGAR
CLK250_3
CLK_FREQ1
CLK3125
CLK_FREQ2
CLKSEL[1:0]
SY58607
CLKFPGA
CLK250_P2
CLKTDC_P2
CLKTDC
CLKADC_P2
CLKADC
2.1 Clock Distribution
CLK1_in

## Slide 5
2. TID Structure and functions
FPGA
Front Panel
Mezz. (Rev2)
MC100LVEP14
SY58607
ADN2805
P0
MC100LVEP14
MC100LVEP14
SD_TRG_IN
FPGA_TRIG_1
GTP#1_TX
GTP#5_TX
GTP#3_TX
TS2_TRG_IN
Ex_TRG_IN
GTP#1_RX
GTP#5_RX
HFBR#5
HFBR#6
HFBR#7
HFBR#8
HFBR#2
HFBR#3
HFBR#4
TRG1B
F1_TRG
FADC_TRG
TRG1A
P2_TRG1
HFBR#1
Sel1
Sel3
Sel2
2.2 TD mode, trigger fanout

## Slide 6
2. TID Structure and functions
HFBR-7934
#1
RX
TX
FPGA
XC5VLX30T
MC100EP14
HFBR-7934
#4
RX
TX
HFBR-7934
#5
RX
TX
HFBR-7934
#8
RX
TX
MC100EP14
MC100EP11
TS_SD_P0_FAN_IN
GTP#8
GTP#1
GTP#4
GTP#5
GTP#2
GTP#3
GTP#6
GTP#7
TRIG1
TRIG2
WARNING/BUSY
GTP connection details:
All the eight fibers are connected to the FPGA, they are status input and trigger output in TD mode; and trigger input and status output in TI mode.
(different FPGA firmware)

## Slide 7
2. TID Structure and functions
I_delay
I_delay
Encoding
Manchester
decoding
Sync
decoding
Manchester
encoding
O_delay
O_delay
Mux
TD_CLKSYNC
FPGA
Ext_Sync
P0_CLKSYNC
MC100LVEP111
MC100EP14
SEL
P0_SyncA
HFBR7924#1
P0_SyncB
P2_Sync
FP_Sync1
FP_Sync2
HFBR7924#8
HFBR7924#2
2.3 Sync signal distribution
The encoding/decoding is implemented in the FPGA, synchronized to the 250MHz clock

## Slide 8
2. TID Structure and functions
Trigger synchronization on trigger interface using SYNC signal
A FIFO (built in the FPGA) is used to compensate for the DES. latency
T-WORD 12
WORD 0
T-WORD 14
T-WORD 13
Ser
Fiber 1T
HFBR
Fiber nT
HFBR
FIFO 1
Des.
Fiber nR
HFBR
Fiber 1R
HFBR
Des.
FIFO n
WORD 1
WORD 0
WORD 1
WORD 4
WORD 5
WORD 2
WORD 3
WORD 4
WORD 2
WORD 3
WORD 7
WORD 8
WORD 5
WORD 6
WORD 7
WORD 8
WORD 6
WORD 10
WORD 11
WORD 9

## Slide 9
2. TID Structure and functions
The front panel will look like the drawing at the right. There are eight optical transceivers in TD mode, and one (or two) optical transceivers plus copper cable connectors in TI mode.
2.4 Front panel:
(always availableTM ) VME remote loading firmware;
Serial links to switch slot#A, switch slot#B;
Potential fast data link to SD;
2.5 Other features:

## Slide 10
3. Possible usage in the system
3.1 Standard experiment setup:
This is the same content drawing as in page 2
TS
SD
TID1
TID16
TID2
TID1
TID2
TID8
SD
ADC/TDC
ADC/TDC
ADC/TDC
BUSY
Trg/Clk/Sync
Trg/Clk/Sync
Trg/Clk/Sync
Trg/Clk/Sync
Trg/Clk/Sync
BUSY
BUSY
BUSY
BUSY
Up to 16
Up to 16
Up to 8
Global Trigger Distribution Crate
Front End Readout Crate
TID Boards
One Distribution Crate;
Up to 127 Front End Crate,
Plus the global trigger crate.

## Slide 11
3. Possible usage in the system
SD
T
ID
/TS
ADC/TDC
V
M
E
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
SD
T
ID
ADC/TDC
V
M
E
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
SD
T
ID
ADC/TDC
V
M
E
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
Front End Crates
Up to 8 crates
3.2 Commissioning/testing setup (or a small DAQ system)
Up to 9 (front end) crates in total
TID as TI (this crate)
and TD (up to 8 other crates)
with TS function
Front End Crate

## Slide 12
3. Possible usage in the system
TS
SD
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
T
ID
V
M
E
SD
T
ID
ADC/TDC
V
M
E
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
SD
T
ID
ADC/TDC
V
M
E
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
TID/TS
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
SD
T
ID
ADC/TDC
V
M
E
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
SD
T
ID
ADC/TDC
V
M
E
ADC/TDC
ADC/TDC
ADC/TDC
TID/TS
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
ADC/TDC
Global Distribution Crate
Front End Crates
Up to 8 crates
Up to 8 crates
Up to 16 TIDs
One global distribution crate,
Up to 127 front end crates
One TID/TS per subsystem with Up to 8 crates
(It is not required for the subsystem to have
its global inputs from the same TID)
3.3 Luxury option: parallel subsystem and global control; doubling the number of optical transceivers (expensive)

## Slide 13
4. TID related boards (Mezz and FANIO)
4.1 Mezzanine board for TS_Rev2 interface
Same connector and jumpers, same component (different package type) as TI_rev2 board;
With the Mezzanine board, this TID will behave like a TI_Rev2 board, to work with TS_rev2.
Board size: 2¼” x 3¼”
How many mezz. Boards do we need?
_____

## Slide 14
4. TID related boards (Mezz and FANIO)
4.2 Fan out board (VME sized board) for CAEN 1290 TDC
VME P2
#1 #5
#2 #6
#3 #7
#4 #8
#9 #13
#10 #14
#11 #15
#12 #16
It fans out the TRIGGER, CLOCK (41.7MHz), RESET signals;
It merges the BUSY signals (OR);
It communicates with VME P2 connectors (with TID);
It supports up to 16 CAEN TDCs;
One 64-pin cable (on FANIO board)
 four 16-pin cables (on CAEN 1290)
How many fanout boards do we need?
________

## Slide 15
4 pieces are manufactured, two PCBs are being assembled;
Board test starts next week
5. Status