| TITLE: WRAP THE SCINTILLATOR WITH MYLAR AND COVER WRAP | DATE: 09/26/2013 |
| --- | --- |
| BY: WILLIAM CRAHEN | APP: ___________________________ |
|  | PRINT: _________________________ |
| CHK:______________________ PRINT: ____________________ | APP: ___________________________ PRINT:_________________________ |

| REV. | DESCRIPTION | BY | CHK. | APP. | APP. | DATE |
| --- | --- | --- | --- | --- | --- | --- |

PREPERATION

Safety Equipment Required:

Work Area Requirements:

The work area should be well ventilated with good lighting. There should be no adjacent activities that generate particles/dust or aerosol contaminants.

# of Technicians Required:

1

Material Required:

Scissors

3M super 33+ electrical tape, ¾” wide

Guillotine paper cutter (New or recently sharpened) note: use this cutter for cutting Mylar and Tedlar only.

3/4” wide 3M 810 Scotch MAGIC tape

48 Gauge (12 micron/.00048” thick) aluminized Mylar

Ethanol or Isopropyl

Lint Free wipes

Scales

Note: Either Latex or Nitrile gloves can be used for this procedure.

Safety glasses with side shields are required when working with Alcohol

Procedure

- Clean the light guide end and scintillator with Alcohol and a lint free wipe. Allow to dry.

- Use the Guillotine cutter to make a Mylar rectangle that is 1.57” (4cm) by approx. 4” long.  Wrap the scintillator end as shown and secure with Scotch tape:

3. Measure the width shown below and cut a piece of Mylar as shown in the lower photo:

1/2”

Slits

‘W’

11”

W

5.5”

- Wrap as shown in the following photos:

- Secure with scotch tape. The wider section of the mylar with the slits extends beyond the light guide edge.  Cut two pieces of electrical tape ~1” long. Stretch each of the electrical tape pieces as shown in the lower photo, forcing the Mylar “fingers” down:

- Cover the end of the scintillator with a piece of Mylar and secure with scotch tape:

- Over wrap the Mylar with electrical tape. Use only two layers, and take care not to have clumpy built up areas on the scintillator (the added thickness could inhibit performance);